



**HNCA03-FEA**

**3MP Network Fisheye Camera**

* 1/3” Progressive Scan CMOS
* Max. 2048 × 1536 @30fpsSlow shutter
* Up to 15 live view display modes
* 120dB WDR
* Up to 15m IR range
* Built-in microphone
* 2 behavior analysis, 1 statistic
* With – V model: IK10 for camera housing, IP66

**HNCA03-FEA is a fisheye network camera capable of providing a 360 degree panoramic image of its surveillance scene.**

**The progressive scan CMOS sensor provides high-resolution images of up to 2048 × 1536.**

**Up to 15 live view display modes, specifically designed for 3 mount types and 2 decoding modes, meet the major needs from customers of different preference.**

**IR range of 15 meters provides good visibility in low or even zero-light environment.**

**Smart**

* 2 behavior analyses, line crossing detection and intrusion detection
* 1 statistic, heat map
* Smart recording: Support edge recording and dual-VCA
* Smart encoding: Support low bit rate, low latency, ROI enhance encoding

**Image**

* Max 2048 x 1536 @ 30fps
* Support live view image decoded by hardware and software
* Support up to 15 display modes in total
* Streaming smoothness setting for different requirements of image quality and fluency
* Support H.264+/H.264/MJPEG video compression, multi-level video quality configuration; support Basic/Main/High Profile H.264 encoding complexity.
* Multiple OSD color: Black & white self-adaptive; Custom
* 120db WDR is supportable for backlight environment
* Support BLC

**System**

* Support ONVIF (profile S/profile G), ISAPI protocol.
* Support dual streams, and support 20 channels live view at the same time
* Lightening protection, surge protection, voltage transient protection, anti-static protection

**Interface**

* Support standard 128G Micro SD/SDHC/SDXC card storage.
* Support 10M/100M/1000M Ethernet Port. Support RS-485 (with – S model)
* Support Audio I/O, support stereo audio (with – S model)
* Support Alarm I/O (with –S model)

**Security**

* Support three-level user authentication management, user and password authorization, IP address filtering
* Support security certificate as HTTPS; support creating certificate
* Basic and digest authentication is supportable in IE configuration
* Lock user IP for many times error login

**Key Features**

|  |  |
| --- | --- |
| **Specification** | |
| ***Camera*** | |
| Image Sensor | 1/3’’ Progressive Scan CMOS |
| Min. Illumination | 0.1 Lux @ (F1.2, AGC ON), 0.28 Lux @ (F2.0, AGC ON), 0 Lux with IR |
| Shutter Speed | 1/3 s – 1/100,000 s |
| Slow Shutter | Support |
| Lens | 1.19 mm, F2.0; horizontal field of view: 180°(wall mount), 360°(ceiling mount), 360°(table mount) |
| Lens Mount | M12 |
| Auto-iris | N/A |
| Day & Night | IR cut filter |
| Digital Noise Reduction | 3D DNR |
| WDR | 120dB |
| ***Compression Standard*** |  |
| Video Compression | Main stream: H.264 Sub stream: H.264/MJPEG |
| H.264 Type | Baseline Profile / Main Profile / High Profile |
| H.264+ | Support only when the display mode is Fisheye View |
| Video Bit Rate | 256 Kbps – 16 Mbps |
| Audio Compression | G.711/G.722.1/G.726/MP2L2/PCM |
| Audio Bit Rate | 64Kbps(G.711) / 16Kbps(G.722.1) / 16Kbps(G.726) / 32-160Kbps(MP2L2) |
| ***Image*** | |
| Max. Resolution | 2048 × 1536 |
| Frame Rate | 50Hz: 25fps (2048 × 1536, 1536 × 1536) 60Hz: 30fps (2048 × 1536, 1536 × 1536) |
| Third Stream | 50Hz: 25fps (720 × 720, 704 × 576) 60Hz: 30fps (720 × 720, 704 × 480) |
| Image Enhancement | BLC/3D DNR |
| Image Setting | Saturation, Brightness, Contrast, Sharpness adjustable by client software or web browser |
| Regional Cropping | Support 3 fixed region for each stream |
| Day/Night Switch | Auto/Schedule/Triggered by Alarm In (with – S model) |
| Picture Overlay | LOGO picture can be overlaid on video with 128x128 24bit bmp format |
| ***Live View Display*** | |
| Mount Type | Support table, wall, and ceiling |
| Decoding Mode | Support hardware decoding and software decoding |
| Display Mode | Support 15 display modes in total (including display modes of different mount types and decoding modes): Fisheye View, 180 Panorama View, 4PTZ, Fisheye + 3PTZ, Fisheye + Panorama + 3PTZ, 360 Panorama View, 360 Panorama + PTZ, 360 Panorama + 3PTZ, 360 Panorama + 6PTZ, 360 Panorama + 8PTZ, 2PTZ, Fisheye + 8PTZ, Panorama View, Panorama + 3PTZ, Panorama + 8PTZ |
| ***Network*** | |
| Network Storage | Support microSD/SDHC/SDXC card (128G), local storage and NAS (NFS,SMB/CIFS), ANR |
| Alarm Trigger | Motion detection, video tampering alarm, network disconnected, IP address conflicted, illegal login, HDD full, HDD error |
| Protocols | TCP/IP, UDP, ICMP, HTTP, HTTPS, FTP, DHCP, DNS, DDNS, RTP, RTSP, RTCP, PPPoE, NTP, UPnP, SMTP, SNMP, IGMP, 802.1X, QoS, IPv6, Bonjour |
| Security | One-key reset, anti-flicker, heartbeat, password protection, privacy mask, watermark, IP address filter |
| Standard | ONVIF(PROFILE S,PROFILE G), ISAPI |
| ***Interface*** |  |
| Audio Input | 1 3.5mm audio interface, Mic in/Line in (with – S model); 1 built-in microphone by default, -42dB |
| Communication Interface | 1 RJ45 10M/100M Ethernet port With –S model: 1 RS-485 interface |
| Alarm (With –S model) | 1 input, 1 output (up to DC24V 1A or AC110V 500mA ) |
| Alarm Output | 1 3.5mm audio output interface (with – S model); 1 built-in speaker by default, support echo cancellation |
| Video Output | 1Vp-p composite output (75 Ω/BNC) |
| On-board storage | Built-in Micro SD/SDHC/SDXC slot, up to 128 GB |
| Reset Button | Yes |

|  |  |  |
| --- | --- | --- |
| ***Audio*** | | |
| Environment Noise Filtering | Support | |
| Audio I/O | Support | |
| Audio Sampling Rate | Max 48kHz | |
| ***Smart Feature-set*** | | |
| Line Crossing Detection | | Cross a pre-defined virtual line, up to 4 pre-defined virtual lines supported |
| Intrusion Detection | | Enter and loiter in a pre-defined virtual region, up to 4 pre-defined virtual regions supported |
| Heat Map | | A graphical representation of density of visit in a configured area. |
| Object Removal | | Objects removed from the pre-defined region, such as the exhibits on display |
| Exception Detections | | Scene change detection, Sudden audio increase/decrease detection, Audio loss detection, Defocus detection |
| Recognition | | Face detection recognition |
| Statistics | | Object Counting (Entrance and Exit object number is accounted and showed on screen in real time) |
| ***General*** | | |
| Operating Conditions | | Indoor temperature: -10 °C – 50 °C (14 °F – 122 °F) With –V model: Outdoor temperature: -30 °C – 60 °C (-22 °F – 140 °F) Humidity 95% or less (non-condensing) |
| Power Supply | | 12 V DC ± 10%, PoE (802.3af) |
| Power Consumption | | 12 V DC ± 10%: Max. 9.3 W PoE (802.3af): Max. 12.18 W |
| Current | | Max. 1 A |
| Protection Level | | With – V model: IEC60068-2-75Eh, 20J; EN50102, up to IK10 for camera housing With – V model: IP66 |
| Dimensions | | 164 × 152.8 × 45.5mm (6.46” × 6.02” × 1.79”) With –V model: 164 × 152.8 × 49.5 mm (6.46” × 6.02” × 1.95”) |
| Weight | | 1400 g (3.09 lbs) |