## IP Cameras
InVid IP Cameras (TAA/NDAA)
Picture | Spec Sheet | Short Desc | InVid Part # | Product Type | Dealer Price | MAP | MSRP | Mount/Bracket/Box | Compliance
#VALUE! | PAR-P2BSSXIR36A | 2 Megapixel IP Outdoor Stainless Steel Bullet, Fixed Lens, 65’ EXIR Range, PoE/12VDC | PAR-P2BSSXIR36A | IP Camera: 2-MP | 693.1 | 837 | 956 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-P2BSSXIRA2812 | 2 Megapixel IP, Outdoor Stainless Steel Bullet, 2.8-12mm Auto-Focus Motorized , 65' EXIR Range, PoE/DC12V | PAR-P2BSSXIRA2812 | IP Camera: 2-MP | 790.25 | 954 | 1090 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-P2DRSSIRA2812 | 2 Megapixel IP, Outdoor Stainless Steel Dome, 2.8-12mm Auto-Focus Motorized , 75' EXIR Range, PoE/DC12V | PAR-P2DRSSIRA2812 | IP Camera: 2-MP | 790.25 | 954 | 1090 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-P2ELEV29NH | 2 Megapixel IP Plug & Play Metal Plate Elevator Camera, WDR, Covert IR Range, PoE/DC12V | PAR-P2ELEV29NH | IP Camera: 2-MP | 358.15 | 432 | 494 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-P2CRB36NH | 2 Megapixel IP Cylinder Bullet Camera | ULT-P2CRB36NH | IP Camera: 2-MP | 303.05 | 366 | 418 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-P2SQPOE21NH | 2 Megapixel IP Miniature Square PoE Camera | ULT-P2SQPOE21NH | IP Camera: 2-MP | 217.5 | 263 | 300 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-P2SQPOE36NH | 2 Megapixel IP Miniature Square PoE Camera | ULT-P2SQPOE36NH | IP Camera: 2-MP | 229.1 | 277 | 316 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-P2SQPOEP28NH | 2 Megapixel IP Miniature Square PoE Camera | ULT-P2SQPOEP28NH | IP Camera: 2-MP | 229.1 | 277 | 316 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-P2SQPOEP37NH | 2 Megapixel IP Miniature Square PoE Camera | ULT-P2SQPOEP37NH | IP Camera: 2-MP | 243.6 | 294 | 336 | N/A | TAA & NDAA Compliant
#VALUE! | ELEV-P4MIBP37NH | 4 Megapixel IP Plug & Play, Indoor Metal Case Camera, Fixed Lens, WDR, Audio Input, DC12V/PoE | ELEV-P4MIBP37NH | IP Camera: 4-MP | 137.75 | 166 | 190 | N/A | NDAA Compliant
#VALUE! | ELEV-P4PIRNH | 4 Megapixel IP Plug & Play, Indoor Covert PIR Housing, Fixed Lens, WDR, Audio Output, Built-in Mic, 12VDC/PoE | ELEV-P4PIRNH | IP Camera: 4-MP | 146.45 | 177 | 202 | N/A | NDAA Compliant
#VALUE! | ELEV-P4SMOKENH | 4 Megapixel IP Plug & Play, Indoor Covert Smoke Detector Housing, Fixed Lens, WDR, Audio Input, 12VDC/PoE | ELEV-P4SMOKENH | IP Camera: 4-MP | 146.45 | 177 | 202 | N/A | NDAA Compliant
#VALUE! | PAR-P4BIR28-LC3 | 4 Megapixel IP Plug & Play, Outdoor Bullet, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P4BIR28-LC3 | IP Camera: 4-MP | 72.5 | 88 | 100 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P4BIR28NH-AI | 4 Megapixel IP Plug & Play, Outdoor Bullet, True AI, Fixed lens, Up to 98’ IR Range, True WDR, Audio Input, 12VDC/PoE | PAR-P4BIR28NH-AI | IP Camera: 4-MP | 114.55 | 138 | 158 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P4BIR36NH-AI | 4 Megapixel IP Plug & Play, Outdoor Bullet, True AI, Fixed lens, Up to 98’ IR Range, True WDR, Audio Input, 12VDC/PoE | PAR-P4BIR36NH-AI | IP Camera: 4-MP | 114.55 | 138 | 158 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P4BIRA2812BNH-AI | 4 Megapixel IP Plug & Play, Outdoor Bullet, 2.8-12mm Motorized Auto-Focus Lens, True AI, Up to 164’ IR Range, WDR, Audio Input, SD Card Slot, 12VDC/PoE | PAR-P4BIRA2812BNH-AI | IP Camera: 4-MP | 195.75 | 236 | 270 | IPM-JB6B: Junction Box, Black IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P4BIRA2812NH-AI | 4 Megapixel IP Plug & Play, Outdoor Bullet, 2.8-12mm Motorized Auto-Focus Lens, True AI, Up to 164’ IR Range, WDR, Audio Input, SD Card Slot, 12VDC/PoE | PAR-P4BIRA2812NH-AI | IP Camera: 4-MP | 195.75 | 236 | 270 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P4BIRA2812NH-AIWL | 4 Megapixel IP Plug & Play, Outdoor Bullet, 2.8-12mm Motorized Auto-Focus Lens, IR Range up to 131’, WDR, White Light Supplement, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P4BIRA2812NH-AIWL | IP Camera: 4-MP | 143.55 | 173 | 198 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P4BIRA2812NH-AIWLT | 4 Megapixel IP Plug & Play, Outdoor Bullet, 2.8-12mm Motorized Auto-Focus Lens, IR Range up to 131’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren , Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE | PAR-P4BIRA2812NH-AIWLT | IP Camera: 4-MP | 203 | 245 | 280 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P4BIRL28NH-AI | 4 Megapixel IP Plug & Play, Outdoor Bullet, 24/7 Full-Color Day AND Night, White Light up to 98’, True AI, Fixed lens, Audio Input: Built-in Mic, Audio Output, SD Card Slot, 12VDC/PoE | PAR-P4BIRL28NH-AI | IP Camera: 4-MP | 181.25 | 219 | 250 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P4CUBENH-AIT | 4 megapixel Cube Wi-Fi Network Camera, Indoor only, 12VDC/PoE | PAR-P4CUBENH-AIT | IP Camera: 4-MP | 174 | 210 | 240 | N/A | NDAA Compliant
#VALUE! | PAR-P4DOORBELL | 4 Megapixel, IP Outdoor Doorbell Camera, 2.3mm, Dual Light Options, Video Intercom & Supports Audio/Video with Mobile App, SD Card Slot, 12/24VDC/24 VAC | PAR-P4DOORBELL | IP Camera: 4-MP | 159.5 | 193 | 220 | N/A | NDAA Compliant
#VALUE! | PAR-P4DRIR28BNH-AIJB | 4 Megapixel IP Plug & Play, Outdoor Dome, Fixed Lens, True AI, Up to 98’ IR Range, WDR, Audio Input: Built-in Mic, SD Card Slot, 12VDC/PoE, with Included Junction Box (BLACK) | PAR-P4DRIR28BNH-AIJB | IP Camera: 4-MP | 130.5 | 158 | 180 | IPM-JB7: Junction Box #7 (INCLUDED) IPM-TXWM1A: Wall Mount #1 IPM-PM3: Pendant Mount ( Must use with Back Box) | NDAA Compliant
#VALUE! | PAR-P4DRIR28-LC3 | 4 Megapixel IP Plug & Play, Outdoor Dome, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P4DRIR28-LC3 | IP Camera: 4-MP | 79.75 | 96 | 110 | IPM-JB7: Junction Box #7 IPM-TXWM1A: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-P4DRIR28NH-AI | 4 Megapixel IP Plug & Play, Outdoor Dome, Fixed Lens, True AI, Up to 98’ IR Range, WDR, Audio Input: Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P4DRIR28NH-AI | IP Camera: 4-MP | 121.8 | 147 | 168 | IPM-JB7: Junction Box #7 IPM-TXWM1A: Wall Mount #1 IPM-PM3: Pendant mount (Must use with IPM-JB7) | NDAA Compliant
#VALUE! | PAR-P4DRIRA2812NH-AI | 4 Megapixel IP Plug & Play, Outdoor Dome, True AI, Up to 164’ IR Range, WDR, Audio Input/Output, Built-in Mic, PoE/12VDC | PAR-P4DRIRA2812NH-AI | IP Camera: 4-MP | 203 | 245 | 280 | IPM-JB8: Junction Box #8 IPM-WALLMOUNT2: Wall Mount (Use with IPM-JB8) IPM-PTZPOLE1: Pole Mount (Use with IPM-JB8) IPM-PTZCORNER: Corner Mount (Use with IPM-JB8) IPM-PM3: Pendant Mount ( Must use with Back Box) | NDAA Compliant
#VALUE! | PAR-P4DRPTZXIR3NH-AI | 4 Megapixel IP Plug & Play, Indoor/Outdoor PTZ Dome, 3.18-7.42mm, Surface Mount Dome Style, IR Range up to 65’, SD Card Slot, DC12V/PoE | PAR-P4DRPTZXIR3NH-AI | IP Camera: 4-MP | 203 | 245 | 280 | IPM-JB7: Junction Box IPM-PTZCORNER: Corner Mount (Use with IPM-MIPTZWALL) IPM-MIPTZWALL: Mini PTZ Wall Mount | NDAA Compliant
#VALUE! | PAR-P4RICSNH-AI | 4 Megapixel IP Plug & Play Indoor Box Camera, True AI, CVBS Output, True WDR, Audio Input/Output, Built-in Mic, SD Card Slot, 12VDC/24VAC/PoE | PAR-P4RICSNH-AI | IP Camera: 4-MP | 150.8 | 182 | 208 | ICL-2812DCMP: Lens | NDAA Compliant
#VALUE! | PAR-P4TIRA2812BNH-AIWLTJB | 4 Megapixel IP Plug & Play, Outdoor Turret, 2.8-12mm Motorized Auto-Focus Lens, IR Range up to 131’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE, with Included Junction Box (BLACK) | PAR-P4TIRA2812BNH-AIWLTJB | IP Camera: 4-MP | 217.5 | 263 | 300 | IPM-JB4A: Junction Box (INCLUDED) IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-P4TXIR28B-LC3 | 4 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE (BLACK) | PAR-P4TXIR28B-LC3 | IP Camera: 4-MP | 72.5 | 88 | 100 | IPM-JB6B: Junction Box IPM-TXWM1B: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-P4TXIR28BNH-AI | 4 Megapixel IP Plug & Play, Outdoor Turret, True AI, Fixed Lens, Up to 98’ IR Range, True WDR, Audio Input, Built-in Mic, PoE/12VDC (BLACK) | PAR-P4TXIR28BNH-AI | IP Camera: 4-MP | 114.55 | 138 | 158 | IPM-JB6B: Junction Box, Black IPM-TXWM1B: Wall Mount, Black IPM-PM3: Pendant Mount ( Must use with Back Box) | NDAA Compliant
#VALUE! | PAR-P4TXIR28BNH-AIWLTJB | 4 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, IR Range up to 131’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE, with Included Junction Box (BLACK) | PAR-P4TXIR28BNH-AIWLTJB | IP Camera: 4-MP | 152.25 | 184 | 210 | IPM-JB4A: Junction Box (INCLUDED) IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-P4TXIR28-LC3 | 4 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P4TXIR28-LC3 | IP Camera: 4-MP | 72.5 | 88 | 100 | IPM-JB6: Junction Box IPM-TXWM1A: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-P4TXIR28NH-AI | 4 Megapixel IP Plug & Play, Outdoor Turret, True AI, Fixed Lens, Up to 98’ IR Range, True WDR, Audio Input, Built-in Mic, PoE/12VDC | PAR-P4TXIR28NH-AI | IP Camera: 4-MP | 114.55 | 138 | 158 | IPM-JB6: Junction Box #6 IPM-TXWM1A: Wall Mount #1 IPM-PM3: Pendant Mount ( Must use with Back Box) | NDAA Compliant
#VALUE! | PAR-P4TXIRA2812NH-AI | 4 Megapixel IP Plug & Play, Outdoor Turret, Motorized Auto-Focus, IR Range up to 164’, WDR, Audio Input/Output, Built-in Mic, SD Card Slot, DC12V/PoE | PAR-P4TXIRA2812NH-AI | IP Camera: 4-MP | 166.75 | 201 | 230 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-P4TXIRA2812NH-AIWL | 4 Megapixel IP Plug & Play, Outdoor Turret, 2.8-12mm Motorized Auto-Focus Lens, IR Range up to 131’, WDR, White Light Supplement, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P4TXIRA2812NH-AIWL | IP Camera: 4-MP | 143.55 | 173 | 198 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-P4TXIRA2812NH-AIWLT | 4 Megapixel IP Plug & Play, Outdoor Turret, 2.8-12mm Motorized Auto-Focus Lens, IR Range up to 131’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE | PAR-P4TXIRA2812NH-AIWLT | IP Camera: 4-MP | 203 | 245 | 280 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | SECA-P4TXIR28 | 4 Megapixel IP Plug & Play Outdoor Turret 2.8mm Fixed lens, IR Range up to 98’, Built-in Mic, True WDR, SD Card Slot, 12VDC/PoE, Includes Junction Box | SECA-P4TXIR28 | IP Camera: 4-MP | 174 | 210 | 240 | Junction Box (INCLUDED) | TAA & NDAA Compliant
#VALUE! | VIS-P4TXIR28NH-LC2 | 4 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, up to 98’ IR Range, WDR, SD Card Slot, PoE/12VDC | VIS-P4TXIR28NH-LC2 | IP Camera: 4-MP | 65.25 | 79 | 90 | IVM-JB2: Junction Box #2 IVM-DRWM6: Wall Mount IVM-POLE1: Pole. Mount #1 (Must Use with IVM-JB2) IVM-PM2: Pendant Mount (Must Use with IVM-JB2) IVM-CORNER2: Corner Mount (Must Use with Junction Box or Wall Mount) | NDAA Compliant
#VALUE! | PAR-P5BIR28W-LC3 | 5 Megapixel IP Plug & Play, Wi-Fi Outdoor Bullet, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC | PAR-P5BIR28W-LC3 | IP Camera: 5-MP | 181.25 | 219 | 250 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P5BXIR17-LC | 5 Megapixel IP Plug & Play, Outdoor Bullet, Wide Angle 1.7mm Fixed Lens, WDR, 12VDC/PoE | PAR-P5BXIR17-LC | IP Camera: 5-MP | 311.75 | 376 | 430 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-P5DRIRA2812-LC2 | 5 Megapixel IP Plug & Play, Outdoor Dome, 2.8-12mm Motorized Auto-Focus, IR Range up to 164’, True WDR, SD Card slot, 12VDC/PoE | PAR-P5DRIRA2812-LC2 | IP Camera: 5-MP | 189.95 | 229 | 262 | IPM-JB8: Junction Box #8 IPM-WALLMOUNT2: Wall Mount (Use with IPM-JB8) IPM-PTZPOLE1: Pole Mount (Use with IPM-JB8) IPM-PTZCORNER: Corner Mount (Use with IPM-JB8) | NDAA Compliant
#VALUE! | SECA-P5DRIRA27135 | 5 Megapixel IP Plug & Play, Outdoor Vandal Dome, 2.7-13.5mm Motorized Auto-Focus, Up to 131’ IR Range, True WDR, Audio Input/Output, SD Card Slot, 12VDC/PoE, Includes Junction Box | SECA-P5DRIRA27135 | IP Camera: 5-MP | 232 | 280 | 320 | Junction Box (INCLUDED) | TAA & NDAA Compliant
#VALUE! | SECA-P5LIRA28 | 5 Megapixel IP, Low Profile, Outdoor, Fixed Lens, IR Range up to 49’, True WDR, Audio Input/Output, Built-in Mic, SD Card Slot, 12VDC/PoE, Includes Junction Box | SECA-P5LIRA28 | IP Camera: 5-MP | 166.75 | 201 | 230 | Junction Box (INCLUDED) | TAA & NDAA Compliant
#VALUE! | ULT-P5SQPOE28NH | 5 Megapixel IP Miniature Square PoE Camera, 2.8mm Lens | ULT-P5SQPOE28NH | IP Camera: 5-MP | 288.55 | 348 | 398 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-P5SQPOE36NH | 5 Megapixel IP Miniature Square PoE Camera, 3.6mm Lens | ULT-P5SQPOE36NH | IP Camera: 5-MP | 288.55 | 348 | 398 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-P5SQPOE8NH | 5 Megapixel IP Miniature Square PoE Camera, 8mm Lens | ULT-P5SQPOE8NH | IP Camera: 5-MP | 288.55 | 348 | 398 | N/A | TAA & NDAA Compliant
#VALUE! | VIS-P5TXIR28NH-LC3 | 5 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light, Built-in Mic, D-WDR, SD Card Slot, 12VDC/PoE | VIS-P5TXIR28NH-LC3 | IP Camera: 5-MP | 101.5 | 123 | 140 | IVM-JB3: Junction Box IVM-DRWM5: Wall Mount IVM-POLE1: Pole Mount #1 (Must Use with IVM-JB3) IVM-PM2: Pendant Mount (Must Use with IVM-JB3) IVM-CORNER2: Corner Mount (Must Use with Junction Box or Wall Mount) | NDAA Compliant
#VALUE! | PAR-P6BIR28-LC3 | 6 Megapixel IP Plug & Play, Outdoor Bullet, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P6BIR28-LC3 | IP Camera: 6-MP | 100.05 | 121 | 138 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P6BIRA2812-LC3 | 6 Megapixel IP Plug & Play, Outdoor Bullet, Motorized Auto-Focus, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P6BIRA2812-LC3 | IP Camera: 6-MP | 166.75 | 201 | 230 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P6DRIR28-LC3 | 6 Megapixel IP Plug & Play, Outdoor Dome, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P6DRIR28-LC3 | IP Camera: 6-MP | 100.05 | 121 | 138 | IPM-JB7: Junction Box #7 IPM-TXWM1A: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-P6TXIR28B-LC3 | 6 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE (BLACK) | PAR-P6TXIR28B-LC3 | IP Camera: 6-MP | 105.85 | 128 | 146 | IPM-JB6B: Junction Box IPM-TXWM1B: Wall Mount (Black) IPM-PM3: Pendant mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P6TXIR28-LC3 | 6 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P6TXIR28-LC3 | IP Camera: 6-MP | 105.85 | 128 | 146 | IPM-JB6: Junction Box IPM-TXWM1A: Wall Mount #1 IPM-PM3: Pendant mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P6TXIRA2812-LC3 | 6 Megapixel IP Plug & Play, Outdoor Turret, Motorized Auto-Focus, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P6TXIRA2812-LC3 | IP Camera: 6-MP | 159.5 | 193 | 220 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-P8BIR28B-LC3 | 8 Megapixel IP Plug & Play, Outdoor Bullet, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE (BLACK) | PAR-P8BIR28B-LC3 | IP Camera: 8-MP | 137.75 | 166 | 190 | IPM-JB6B: Junction Box, Black IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P8BIR28BNH-AI | 8 Megapixel IP Plug & Play, Outdoor Bullet, True AI, Fixed Lens, Up to 98’ IR Range, True WDR, Audio Input, SD Card Slot, 12VDC/PoE (BLACK) | PAR-P8BIR28BNH-AI | IP Camera: 8-MP | 195.75 | 236 | 270 | IPM-JB6B: Junction Box, Black IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P8BIR28-LC2 | 8 Megapixel IP Plug & Play, Outdoor Bullet, Fixed lens, up to 98’ IR Range, True WDR, Audio Input, SD Card Slot, PoE/12VDC | PAR-P8BIR28-LC2 | IP Camera: 8-MP | 137.75 | 166 | 190 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P8BIR28-LC3 | 8 Megapixel IP Plug & Play, Outdoor Bullet, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P8BIR28-LC3 | IP Camera: 8-MP | 137.75 | 166 | 190 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6 | NDAA Compliant
#VALUE! | PAR-P8BIR28NH-AI | 8 Megapixel IP Plug & Play, Outdoor Bullet, True AI, Fixed Lens, Up to 98’ IR Range, True WDR, Audio Input, SD Card Slot, 12VDC/PoE | PAR-P8BIR28NH-AI | IP Camera: 8-MP | 195.75 | 236 | 270 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P8BIR28NH-AIWLT | 8 Megapixel IP Plug & Play, Outdoor Bullet, 2.8mm Fixed Lens, IR Range up to 131’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE | PAR-P8BIR28NH-AIWLT | IP Camera: 8-MP | 224.75 | 271 | 310 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P8BIRA2812BNH-AIWLTJB | 8 Megapixel IP Plug & Play, Outdoor Bullet, 2.8-12mm Motorized Auto-Focus Lens, IR Range up to 164’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE, Includes Junctions Box (BLACK) | PAR-P8BIRA2812BNH-AIWLTJB | IP Camera: 8-MP | 377 | 455 | 520 | Included Junction Box IPM-WALLMOUNT2: Wall Mount #2 (Must be used with Junction Box) IPM-PTZPOLE1: Pole Mount (Use with Junction Box) IPM-PTZCORNER: Corner Mount (Use with Junction Box) | NDAA Compliant
#VALUE! | PAR-P8BIRA2812-LC3 | 8 Megapixel IP Plug & Play, Outdoor Bullet, Motorized Auto-Focus, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P8BIRA2812-LC3 | IP Camera: 8-MP | 203 | 245 | 280 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P8BIRA2812NH-AI | 8 Megapixel IP Plug & Play, Outdoor Bullet, Motorized Auto-Focus Lens, IR Range up to 229’, WDR, Audio Input/Output, SD Card Slot, DC12V/PoE | PAR-P8BIRA2812NH-AI | IP Camera: 8-MP | 326.25 | 394 | 450 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount (Must use with IPM-JB4A) IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A) | NDAA Compliant
#VALUE! | PAR-P8BIRA2812NH-AIWLT | 8 Megapixel IP Plug & Play, Outdoor Bullet, 2.8-12mm Motorized Auto-Focus Lens, IR Range up to 164’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE | PAR-P8BIRA2812NH-AIWLT | IP Camera: 8-MP | 362.5 | 438 | 500 | IPM-JB4A: Junction Box #4 IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount #2 (Must be used with IPM-JB4A) IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A) | NDAA Compliant
#VALUE! | PAR-P8BIRL28NH-AI | 8 Megapixel IP Plug & Play Outdoor Bullet, 24/7 Full-Color Day AND Night, True AI, Fixed lens, Audio Input: Built-in Mic, Audio Output, SD Card Slot, 12VDC/PoE, Superior Starlight | PAR-P8BIRL28NH-AI | IP Camera: 8-MP | 232 | 280 | 320 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-P8BSSXIRA2812 | 8 Megapixel IP Outdoor Stainless Steel Bullet, Motorized A/F 2.8-12mm, 65’ EXIR Range, PoE/12VDC | PAR-P8BSSXIRA2812 | IP Camera: 8-MP | 1196.25 | 1444 | 1650 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-P8DRIR28-LC3 | 8 Megapixel IP Plug & Play, Outdoor Dome, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P8DRIR28-LC3 | IP Camera: 8-MP | 150.8 | 182 | 208 | IPM-JB7: Junction Box #7 IPM-TXWM1A: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-P8DRIR28NH-AI | 8 Megapixel IP Plug & Play, Outdoor Dome, Fixed Lens, IR Range up to 98’, WDR, Audio Input, Built-in Mic, SD Card Slot, DC12V/PoE | PAR-P8DRIR28NH-AI | IP Camera: 8-MP | 195.75 | 236 | 270 | IPM-JB7: Junction Box #7 IPM-TXWM1A: Wall Mount #1 IPM-PM3: Pendant Mount ( Must use with Back Box) | NDAA Compliant
#VALUE! | PAR-P8DRIRA2812-LC2 | 8 Megapixel IP Plug & Play, Outdoor Dome, 2.8-12mm Motorized A/F, Up to 164’ IR Range, True WDR, Audio Input/Output, Built-in Mic, SD Card Slot, 12VDC /PoE | PAR-P8DRIRA2812-LC2 | IP Camera: 8-MP | 203 | 245 | 280 | IPM-JB8: Junction Box #8 IPM-WALLMOUNT2: Wall Mount (Use with IPM-JB8) IPM-PTZPOLE1: Pole Mount (Use with IPM-JB8) IPM-PTZCORNER: Corner Mount (Use with IPM-JB8) IPM-PM3: Pendant Mount ( Must use with Back Box) | NDAA Compliant
#VALUE! | PAR-P8DRIRA2812NH-AI | 8 Megapixel IP Plug & Play, Outdoor Dome, Motorized Auto-Focus, IR Range up to 164’, WDR, Audio Input/Audio Output, Built-in Mic, SD Card Slot, DC12V/PoE | PAR-P8DRIRA2812NH-AI | IP Camera: 8-MP | 326.25 | 394 | 450 | IPM-JB8: Junction Box #8 IPM-WALLMOUNT2: Wall Mount (Use with IPM-JB8) IPM-PTZPOLE1: Pole Mount (Use with IPM-JB8) IPM-PTZCORNER: Corner Mount (Use with IPM-JB8) IPM-PM3: Pendant Mount ( Must use with Back Box) | NDAA Compliant
#VALUE! | PAR-P8DRIRL28NH-AI | 8 Megapixel IP Plug & Play Outdoor Dome, 24/7 Full-Color Day AND Night, True AI, Fixed lens, Audio Input: Built-in Mic, Audio Output, SD Card Slot, 12VDC/PoE | PAR-P8DRIRL28NH-AI | IP Camera: 8-MP | 239.25 | 289 | 330 | IPM-JB7 : Junction Box IPM-TXWM1A: Wall Mount IPM-DRWM7: Wall Mount IPM-PTZCORNER: Corner Mount IPM-PTZPOLE1: Pole Mount | NDAA Compliant
#VALUE! | PAR-P8TIRA2812BNH-AIWLTJB | 8 Megapixel IP Plug & Play, Outdoor Turret, 2.8-12mm Motorized Auto-Focus Lens, IR Range up to 131’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE, with Included Junction Box (BLACK) | PAR-P8TIRA2812BNH-AIWLTJB | IP Camera: 8-MP | 377 | 455 | 520 | IPM-JB4A: Junction Box (INCLUDED) IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-P8TXIR28B-LC3 | 8 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE (BLACK) | PAR-P8TXIR28B-LC3 | IP Camera: 8-MP | 137.75 | 166 | 190 | IPM-JB6B: Junction Box, Black IPM-TXWM1B: Wall Mount, Black | NDAA Compliant
#VALUE! | PAR-P8TXIR28BNH-AI | 8 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, IR Range up to 98’, WDR, Audio Input, Built-in Mic, SD Card Slot, DC12V/PoE (BLACK) | PAR-P8TXIR28BNH-AI | IP Camera: 8-MP | 188.5 | 228 | 260 | IPM-JB6B: Junction Box, Black IPM-TXWM1B: Wall Mount, Black IPM-PM3: Pendant Mount ( Must use with Back Box) | NDAA Compliant
#VALUE! | PAR-P8TXIR28BNH-AIWLTJB | 8 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, IR Range up to 131’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE, with Included Junction Box (BLACK) | PAR-P8TXIR28BNH-AIWLTJB | IP Camera: 8-MP | 239.25 | 289 | 330 | IPM-JB4A: Junction Box (INCLUDED) IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-P8TXIR28-LC3 | 8 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P8TXIR28-LC3 | IP Camera: 8-MP | 137.75 | 166 | 190 | IPM-JB6: Junction Box IPM-TXWM1A: Wall Mount #1 IPM-DRWM5: Wall Mount | NDAA Compliant
#VALUE! | PAR-P8TXIR28NH-AI | 8 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, IR Range up to 98’, WDR, Audio Input, Built-in Mic, SD Card Slot, DC12V/PoE | PAR-P8TXIR28NH-AI | IP Camera: 8-MP | 188.5 | 228 | 260 | IPM-JB6: Junction Box #6 IPM-TXWM1A: Wall Mount #1 IPM-PM3: Pendant Mount ( Must use with Back Box) | NDAA Compliant
#VALUE! | PAR-P8TXIR28NH-AIWLT | 8 Megapixel IP Plug & Play, Outdoor Turret, 2.8 mm Fixed Lens, IR Range up to 131’, White Light up to 98’, WDR, Red/Blue Flashing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE | PAR-P8TXIR28NH-AIWLT | IP Camera: 8-MP | 224.75 | 271 | 310 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-P8TXIRA2812-LC2 | 8 Megapixel IP Plug & Play, Outdoor Turret, 2.8-12mm Motorized A/F Lens, Up to 164’ IR Range, True WDR, Built-in Mic, SD Card Slot, PoE/12VDC | PAR-P8TXIRA2812-LC2 | IP Camera: 8-MP | 205.9 | 249 | 284 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-P8TXIRA2812-LC3 | 8 Megapixel IP Plug & Play, Outdoor Turret, Motorized Auto-Focus, Supplemental Light Options: IR, White Light or IR to White Light on AI Trigger, Built-in Mic, SD Card Slot, 12VDC/PoE | PAR-P8TXIRA2812-LC3 | IP Camera: 8-MP | 203 | 245 | 280 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | SECA-P8BXIRA27135 | 8 Megapixel IP Plug & Play, Outdoor Bullet, 2.7-13.5mm Motorized Auto-Focus, IR Range up to 131’, True WDR, Audio Input/Output, SD Card Slot, DC12V/PoE, Includes Junction Box | SECA-P8BXIRA27135 | IP Camera: 8-MP | 261 | 315 | 360 | Junction Box (INCLUDED) | TAA & NDAA Compliant
#VALUE! | SECA-P8DRIRA27135 | 8 Megapixel IP Plug & Play, Outdoor Dome, 2.7-13.5mmMotorized Auto-Focus, IR Range up to 131’, True WDR, Audio Input/Audio Output, SD Card Slot, DC12V/PoE, Includes Junction Box | SECA-P8DRIRA27135 | IP Camera: 8-MP | 261 | 315 | 360 | Junction Box (INCLUDED) | TAA & NDAA Compliant
#VALUE! | SECA-P8TXIR28 | 8 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, IR Range up to 98’, True WDR, Built-in Mic, SD Card Slot, DC12V/PoE, Includes Junction Box | SECA-P8TXIR28 | IP Camera: 8-MP | 181.25 | 219 | 250 | Junction Box (INCLUDED) | TAA & NDAA Compliant
#VALUE! | VIS-P8TXIR28NH-LC2 | 8 Megapixel IP Plug & Play, Outdoor Turret, Fixed Lens, up to 98’ IR Range, True WDR, Built-in Mic, SD Card Slot, 12VDC/PoE | VIS-P8TXIR28NH-LC2 | IP Camera: 8-MP | 159.5 | 193 | 220 | IVM-JB2: Junction Box #2 IVM-DRWM6: Wall Mount IVM-POLE1: Pole Mount #1 (Must Use with IVM-JB2) IVM-PM2: Pendant Mount (Must Use with IVM-JB2) IVM-CORNER2: Corner Mount (Must Use with Junction Box or Wall Mount) | NDAA Compliant

## IP NVRs
InVid NVRs (TAA/NDAA) - Structured by Channel
Picture | Spec Sheet | Short Desc | InVid Part # | Product Type | Dealer Price | MAP | MSRP | Compliance
4-Channel NVRs
#VALUE! | PN1B-4X4NH2 | 4 Ch NVR with 4 Plug & Play Ports, 40 Mbps, 4K, No Hard Drive, 1 HD Bays (Up to 26 TB per bay) | PN1B-4X4NH2 | NVR: 4x4 | 176.9 | 214 | 244 | NDAA Compliant
#VALUE! | VN4A-4X4 | 4 Ch NVR with 4 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K, With Cloud Upgrade and Smart Features | VN4A-4X4 | NVR: 4x4 | 181.25 | 219 | 250 | NDAA Compliant
#VALUE! | PN1B-4X4NH2/2TB | 4 Ch NVR with 4 Plug & Play Ports, 40 Mbps, 4K, 1 HD Bay, 2 TB | PN1B-4X4NH2/2TB | NVR: 4x4 | 358.15 | 432 | 494 | NDAA Compliant
8-Channel NVRs
#VALUE! | PN1B-8X8NH2 | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K | PN1B-8X8NH2 | NVR: 8x8 | 213.15 | 257 | 294 | NDAA Compliant
#VALUE! | SN1A-1A8X8 | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K | SN1A-1A8X8 | NVR: 8x8 | 288.55 | 348 | 398 | TAA & NDAA Compliant
#VALUE! | PN3A-8X8FNH | 8 Ch NVR with 8 Plug & Play Ports, True Facial Recognition, 160 Mbps, 1 HD Bays, 4K | PN3A-8X8FNH | NVR: 8x8 | 304.5 | 368 | 420 | NDAA Compliant
#VALUE! | VN4A-8X8 | 8 Ch NVR with 8 Plug & Play Ports, 320/160 Mbps, 2 HD Bays, 4K, With Cloud Upgrade and Smart Features | VN4A-8X8 | NVR: 8x8 | 333.5 | 403 | 460 | NDAA Compliant
#VALUE! | PN1B-8X8NH2/2TB | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K, 2TB | PN1B-8X8NH2/2TB | NVR: 8x8 | 394.4 | 476 | 544 | NDAA Compliant
#VALUE! | PN1B-8X8NH2/4TB | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K, 4 TB | PN1B-8X8NH2/4TB | NVR: 8x8 | 401.65 | 485 | 554 | NDAA Compliant
#VALUE! | SN1A-1A8X8/2TB | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K , 2TB | SN1A-1A8X8/2TB | NVR: 8x8 | 469.8 | 567 | 648 | TAA & NDAA Compliant
#VALUE! | SN1A-1A8X8/4TB | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K , 4 TB | SN1A-1A8X8/4TB | NVR: 8x8 | 477.05 | 576 | 658 | TAA & NDAA Compliant
#VALUE! | PN3A-8X8FNH/1TB | 8 Ch NVR with 8 Plug & Play Ports, True Facial Recognition, 160 Mbps, 1 HD Bays, 4K, 1 TB | PN3A-8X8FNH/1TB | NVR: 8x8 | 485.75 | 586 | 670 | NDAA Compliant
#VALUE! | SN1A-1A8X8/6TB | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K , 6TB | SN1A-1A8X8/6TB | NVR: 8x8 | 578.55 | 698 | 798 | TAA & NDAA Compliant
#VALUE! | SN1A-1A8X8/18TB | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K , 18TB | SN1A-1A8X8/18TB | NVR: 8x8 | 1013.55 | 1223 | 1398 | TAA & NDAA Compliant
#VALUE! | SN1A-1A8X8/14TB | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K , 14TB | SN1A-1A8X8/14TB | NVR: 8x8 | 941.05 | 1136 | 1298 | TAA & NDAA Compliant
#VALUE! | SN1A-1A8X8/12TB | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K , 12TB | SN1A-1A8X8/12TB | NVR: 8x8 | 832.3 | 1005 | 1148 | TAA & NDAA Compliant
#VALUE! | SN1A-1A8X8/10TB | 8 Ch NVR with 8 Plug & Play Ports, 80 Mbps, 1 HD Bay, 4K , 10TB | SN1A-1A8X8/10TB | NVR: 8x8 | 767.05 | 926 | 1058 | TAA & NDAA Compliant
16-Channel NVRs
#VALUE! | PN1A-16X16-2NH2 | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4k | PN1A-16X16-2NH2 | NVR: 16x16 | 349.45 | 422 | 482 | NDAA Compliant
#VALUE! | SN1A-1A16X16 | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4K | SN1A-1A16X16 | NVR: 16x16 | 433.55 | 523 | 598 | TAA & NDAA Compliant
#VALUE! | VN4A-16X16 | 16 Ch NVR with 16 Plug & Play Ports, 320/160 Mbps, 2 HD Bays, 4K, With Cloud Upgrade and Smart Features | VN4A-16X16 | NVR: 16x16 | 485.75 | 586 | 670 | NDAA Compliant
#VALUE! | PN1A-16X16-2NH2/4TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4k, 4TB | PN1A-16X16-2NH2/4TB | NVR: 16x16 | 537.95 | 649 | 742 | NDAA Compliant
#VALUE! | SN1A-1A16X16/2TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4K, 2TB | SN1A-1A16X16/2TB | NVR: 16x16 | 614.8 | 742 | 848 | TAA & NDAA Compliant
#VALUE! | SN1A-1A16X16/4TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4k, 4TB | SN1A-1A16X16/4TB | NVR: 16x16 | 622.05 | 751 | 858 | TAA & NDAA Compliant
#VALUE! | PN1A-16X16-2NH2/6TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4k, 6TB | PN1A-16X16-2NH2/6TB | NVR: 16x16 | 639.45 | 772 | 882 | NDAA Compliant
#VALUE! | VN4A-16X16/2TB | 16 Ch NVR with 16 Plug & Play Ports, 320/160 Mbps, 2 HD Bays, 4K, With Cloud Upgrade and Smart Features, 2TB | VN4A-16X16/2TB | NVR: 16x16 | 667 | 805 | 920 | NDAA Compliant
#VALUE! | SN1A-1A16X16/8TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4K, 8TB | SN1A-1A16X16/8TB | NVR: 16x16 | 817.8 | 987 | 1128 | TAA & NDAA Compliant
#VALUE! | SN1A-1A16X16/6TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4K, 6TB | SN1A-1A16X16/6TB | NVR: 16x16 | 723.55 | 873 | 998 | TAA & NDAA Compliant
#VALUE! | SN1A-1A16X16/36TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4K, 36TB | SN1A-1A16X16/36TB | NVR: 16x16 | 1883.55 | 2273 | 2598 | TAA & NDAA Compliant
#VALUE! | SN1A-1A16X16/14TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4K, 14TB | SN1A-1A16X16/14TB | NVR: 16x16 | 1086.05 | 1311 | 1498 | TAA & NDAA Compliant
#VALUE! | SN1A-1A16X16/12TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4K, 12TB | SN1A-1A16X16/12TB | NVR: 16x16 | 977.3 | 1180 | 1348 | TAA & NDAA Compliant
#VALUE! | SN1A-1A16X16/10TB | 16 Ch NVR with 16 Plug & Play Ports, 160 Mbps, 2 HD Bays, 4K, 10TB | SN1A-1A16X16/10TB | NVR: 16x16 | 912.05 | 1101 | 1258 | TAA & NDAA Compliant
32-Channel NVRs
#VALUE! | PN3A-16X16FNH2 | 32 Ch NVR with 16 Plug & Play Ports, True Facial Recognition, 320 Mbps, (2) NIC Cards, 4 HD Bays, 4K, with AccuSearch | PN3A-16X16FNH2 | NVR: 16x16 | 500.25 | 604 | 690 | NDAA Compliant
#VALUE! | VN4A-32 | 32 Ch NVR, 320/160 Mbps, 4 HD Bays, 4K, With Cloud Upgrade and Smart Features | VN4A-32 | NVR: 32 | 580 | 700 | 800 | NDAA Compliant
#VALUE! | PN3A-32X16FNH | 32 Ch NVR with 16 Plug & Play Ports, 320 Mbps, (2) NIC Cards, 8 HD Bays, 4K | PN3A-32X16FNH | NVR: 32x16 | 652.5 | 788 | 900 | NDAA Compliant
64-Channel NVRs
#VALUE! | VN4A-64X24 | 64 Ch NVR with 24 Plug & Play Ports, 384/200 Mbps, 4 HD Bays, 4K, With Cloud Upgrade and Smart Features | VN4A-64X24 | NVR: 64x24 | 1015 | 1225 | 1400 | NDAA Compliant
#VALUE! | VN4A-64X24/2TB | 64 Ch NVR with 24 Plug & Play Ports, 384/200 Mbps, 4 HD Bays, 4K, With Cloud Upgrade and Smart Features , 2TB | VN4A-64X24/2TB | NVR: 64x24 | 1196.25 | 1444 | 1650 | NDAA Compliant
#VALUE! | VN4A-64X24/4TB | 64 Ch NVR with 24 Plug & Play Ports, 384/200 Mbps, 4 HD Bays, 4K, With Cloud Upgrade and Smart Features , 4TB | VN4A-64X24/4TB | NVR: 64x24 | 1203.5 | 1453 | 1660 | NDAA Compliant
#VALUE! | VN4A-64X24/6TB | 64 Ch NVR with 24 Plug & Play Ports, 384/200 Mbps, 4 HD Bays, 4K, With Cloud Upgrade and Smart Features, 6TB | VN4A-64X24/6TB | NVR: 64x24 | 1305 | 1575 | 1800 | NDAA Compliant
#VALUE! | VN4A-64X24/8TB | 64 Ch NVR with 24 Plug & Play Ports, 384/200 Mbps, 4 HD Bays, 4K, With Cloud Upgrade and Smart Features, 8TB | VN4A-64X24/8TB | NVR: 64x24 | 1399.25 | 1689 | 1930 | NDAA Compliant
#VALUE! | PN3A-64FNH | 64Ch NVR, 640Mbps, (2) NIC Cards, 8 HD Bays, Up to 16 Megapixel | PN3A-64FNH | NVR: 64 | 1447.1 | 1747 | 1996 | NDAA Compliant

## TVI-ANALOG
InVid HD Analog Cameras & DVRs (TAA/NDAA)
Picture | Spec Sheet | Short Desc | InVid Part # | Product Type | Dealer Price | MAP | MSRP | Mount/Bracket/Box | Compliance
#VALUE! | PAR-ALLBSSXIR36 | *Special Order Product. For Lead Time Call Sales: 888-550-5700* 2 Megapixel TVI/AHD/CVI/Analog, Outdoor Stainless Steel Bullet, 65' EXIR Range, 12VDC | PAR-ALLBSSXIR36 | HD Analog Camera: 2-MP | 646.7 | 781 | 892 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-ALLBSSXIRA2812 | 2 Megapixel TVI/AHD/CVI/Analog, Outdoor Stainless Steel Bullet, 2.8-12mm Auto-Focus Motorized, 65' EXIR Range, 12VDC | PAR-ALLBSSXIRA2812 | HD Analog Camera: 2-MP | 693.1 | 837 | 956 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-ALLDIRS2812D | 2 Megapixel TVI/AHD/CVI/Analog, Indoor Dome 2.8-12mm, 98’ IR Range, D-WDR, Dual Voltage | PAR-ALLDIRS2812D | HD Analog Camera: 2-MP | 76.85 | 93 | 106 | N/A | NDAA Compliant
#VALUE! | PAR-ALLDRSSIRA2812 | 2 Megapixel TVI/AHD/CVI/Analog, Outdoor Stainless Steel Rugged Dome, 2.8-12mm, 75' IR Range, 12VDC | PAR-ALLDRSSIRA2812 | HD Analog Camera: 2-MP | 653.95 | 789 | 902 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-ALLELEV29 | 2 Megapixel TVI/AHD/CVI/CVBS, Indoor Metal Plate Elevator Camera with Covert 32' IR Range, D-WDR, 12VD | PAR-ALLELEV29 | HD Analog Camera: 2-MP | 189.95 | 229 | 262 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-ALLTXIR28WL | 2 Megapixel TVI/AHD/CVI/Analog 960h, Outdoor Turret, 60’ White Light Range, D-WDR, 12VDC | PAR-ALLTXIR28WL | HD Analog Camera: 2-MP | 60.9 | 74 | 84 | IPM-JB6: Junction Box #6 IPM-TXWM1A: Wall Mount#1 | NDAA Compliant
#VALUE! | PAR-ALLTXIRA28 | 2 Megapixel TVI/AHD/CVI/Analog 960h, Outdoor Turret, Up to 98’ IR Range, D-WDR, 12VDC, Audio Over Coax (AOC) | PAR-ALLTXIRA28 | HD Analog Camera: 2-MP | 36.25 | 44 | 50 | IPM-JB6: Junction Box #6 IPM-TXWM1A: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-ALLTXIRA28WL | 2 Megapixel TVI/AHD/CVI/Analog 960h, Outdoor Turret, 60’ White Light Range, D-WDR, 12VDC, Audio Over Coax (AOC) | PAR-ALLTXIRA28WL | HD Analog Camera: 2-MP | 43.5 | 53 | 60 | IPM-JB6: Junction Box #6 IPM-TXWM1A: Wall Mount#1 | NDAA Compliant
#VALUE! | PAR-C2BSSUIR36 | 2 Megapixel TVI, Outdoor Stainless Steel Mini Bullet, 3.6mm, 42' White IR Range, 12VDC, Submersible to 65' | PAR-C2BSSUIR36 | HD Analog Camera: 2-MP | 516.2 | 623 | 712 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-C2LPR622D | 2 Megapixel License Plate Recognition Outdoor Bullet Camera, 6-22mm Motorized Auto-Focus, Up to 49’ IR Range, 12VDC/24VAC | PAR-C2LPR622D | HD Analog Camera: 2-MP | 288.55 | 348 | 398 | IPM-LPRJB: Junction Box | NDAA Compliant
#VALUE! | PAR-TURRET28BA | 2 Megapixel TVI/AHD/CVI/Analog, Outdoor Turret Housing, 65’ IR Range, DWDR, 12VDC, with Dip Switch (BLACK) | PAR-TURRET28BA | HD Analog Camera: 2-MP | 29 | 35 | 40 | IPM-JB6B: Junction Box, Black IPM-TXWM1B: Wall Mount, Black | NDAA Compliant
#VALUE! | PAR-VARITURRETA | 2 Megapixel 2.8-12mm Turret, Field Selectable TVI/AHD/CVI/Analog Output, True Day/Night, DWDR, 98’ IR Range, UTC, IP66, IK10, 12VDC | PAR-VARITURRETA | HD Analog Camera: 2-MP | 55.1 | 67 | 76 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | PAR-VARITURRETAN | 2 Megapixel 2.8-12mm Turret, Field Selectable TVI/AHD/CVI/Analog Output, True Day/Night, DWDR, 98’ IR Range, UTC, IP66, IK10, 12VDC | PAR-VARITURRETAN | HD Analog Camera: 2-MP | 50.75 | 61 | 70 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | ELEV-ALL5MIP28 | 5 Megapixel TVI/AHD/CVI/CVBS Pinhole Camera, 2.8mm Fixed Lens, D-WDR, 12VDC | ELEV-ALL5MIP28 | HD Analog Camera: 5-MP | 105.85 | 128 | 146 | N/A | NDAA Compliant
#VALUE! | ELEV-ALL5MIP37 | 5 Megapixel TVI/AHD/CVI/CVBS Pinhole Camera, 3.7mm Fixed Lens, D-WDR, 12VDC | ELEV-ALL5MIP37 | HD Analog Camera: 5-MP | 105.85 | 128 | 146 | N/A | NDAA Compliant
#VALUE! | ELEV-ALLSMOKE5 | 5 Megapixel TVI/AHD/CVI/CVBS Indoor Covert Smoke Detector Housing, D-WDR, DC12V | ELEV-ALLSMOKE5 | HD Analog Camera: 5-MP | 89.9 | 109 | 124 | N/A | NDAA Compliant
#VALUE! | ELEV-C5LIR28N | 5 Megapixel Outdoor Low Profile Dome, Fixed 2.8mm IR Lens, True WDR, DC12V | ELEV-C5LIR28N | HD Analog Camera: 5-MP | 76.85 | 93 | 106 | N/A | NDAA Compliant
#VALUE! | PAR-A5MINITI28W | 5 Megapixel TVI/AHD/CVI/CVBS, Outdoor Mini Turret, 32’ IR Range, D-WDR, 12VDC | PAR-A5MINITI28W | HD Analog Camera: 5-MP | 71.05 | 86 | 98 | N/A | NDAA Compliant
#VALUE! | PAR-ALL5TXIR18 | 5-2 Megapixel Field Selectable TVI/AHD/CVI/CVBS, Outdoor Turret, Super Wide Angle 1.8mm Lens, Up to 65’ IR Range, True WDR, 12VDC | PAR-ALL5TXIR18 | HD Analog Camera: 5-MP | 79.75 | 96 | 110 | IPM-JBM1: Junction Box | NDAA Compliant
#VALUE! | PAR-ALLDRXIRA27135BD | 5-2 Megapixel Field Selectable TVI/AHD/CVI/CVBS, Outdoor Vandal Dome, 98’ IR Range, True WDR, 12VDC&24V AC Power Input | PAR-ALLDRXIRA27135BD | HD Analog Camera: 5-MP | 114.55 | 138 | 158 | IPM-WALLVARDOME: Wall Mount IPM-CORNERVARFIXDOME: Corner Mount IPM-CMVARDOME: Ceiling Mount IPM-POLEVARFIXDOME: Pole Mount IPM-ICMVARDOME: In-Ceiling Mount IPM-JBLARGE: Junction Box IPM-JBVARDOME: Junction Box | NDAA Compliant
#VALUE! | PAR-C5BIR28AWLIR | 5 Megapixel TVI/AHD/CVI/Analog 960h, Outdoor Bullet, Supplemental Light Options: IR, White Light or IR to White Light on SMD Trigger, Audio over Coax (AoC), SD Card Slot, 12VDC | PAR-C5BIR28AWLIR | HD Analog Camera: 5-MP | 50.75 | 61 | 70 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-C5BIR36AWL | 5 Megapixel TVI/AHD/CVI, Outdoor Bullet, 60’ White Light Range, D-WDR, 12VDC, Audio Over Coax (AoC) | PAR-C5BIR36AWL | HD Analog Camera: 5-MP | 58 | 70 | 80 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-C5BIRA28 | 5 Megapixel TVI/AHD/CVI/Analog 960h, Outdoor Bullet, IR Range up to 98’, D-WDR, 12VDC, Audio Over Coax (AoC) | PAR-C5BIRA28 | HD Analog Camera: 5-MP | 42.05 | 51 | 58 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-C5BIRA2812N | 5 Megapixel, Motorized Autofocus 2.8-12mm Lens, TVI/AHD/CVI/ Analog 960h, 164’ Smart IR Range, True Day/Night, D-WDR, 12VDC | PAR-C5BIRA2812N | HD Analog Camera: 5-MP | 87 | 105 | 120 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-C5DRIRA28 | 5 Megapixel, TVI/AHD/CVI/Analog 960h, Outdoor Dome, Fixed Lens, D-WDR, IR Range up to 65’, 12VDC, Audio Over Coax (AOC) | PAR-C5DRIRA28 | HD Analog Camera: 5-MP | 59.45 | 72 | 82 | IPM-JB7: Junction Box #7 IPM-TXWM1A: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-C5DRIRA2812N | 5 Megapixel TVI/AHD/CVI/CVBS, Outdoor Dome, Motorized A/F, IR Range up to 98’, 12VDC | PAR-C5DRIRA2812N | HD Analog Camera: 5-MP | 98.6 | 119 | 136 | IPM-JB8: Junction Box #8 IPM-WALLMOUNT2: Wall Mount (Use with IPM-JB8) IPM-PTZPOLE1: Pole Mount (Use with IPM-JB8) IPM-PTZCORNER: Corner Mount (Use with IPM-JB8) | NDAA Compliant
#VALUE! | PAR-C5TIR28AWLIR | 5 Megapixel TVI/AHD/CVI/Analog 960h, Outdoor Turret, Supplemental Light Options: IR, White Light or IR to White Light on SMD Trigger, Audio over Coax (AoC), SD Card Slot, 12VDC | PAR-C5TIR28AWLIR | HD Analog Camera: 5-MP | 50.75 | 61 | 70 | IPM-JB6: Junction Box #6 IPM-TXWM1A: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-C5TIR36AWL | 5 Megapixel TVI/AHD/CVI, Outdoor Turret, 60’ White Light Range, D-WDR, 12VDC, Audio Over Coax (AoC) | PAR-C5TIR36AWL | HD Analog Camera: 5-MP | 58 | 70 | 80 | IPM-JB6: Junction Box #6 IPM-TXWM1A: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-C8BIR28 | 8 Megapixel TVI/AHD/CVI/Analog 960h, Outdoor Bullet, IR Range up to 98’, D-WDR, UTC Function, 12VDC | PAR-C8BIR28 | HD Analog Camera: 8-MP | 84.1 | 102 | 116 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-C8BIRA2812 | 8 Megapixel, Motorized Auto-focus 2.8-12mm Lens, TVI/CVI/AHD/Analog 960h, True Day/Night, D-WDR, IR Range Up to 164’, 12VDC Operation | PAR-C8BIRA2812 | HD Analog Camera: 8-MP | 136.3 | 165 | 188 | IPM-JB6: Junction Box IPM-PTZPOLE1: Pole Mount (Use with IPM-JB6) IPM-PTZCORNER: Corner Mount (Use with IPM-JB6) | NDAA Compliant
#VALUE! | PAR-C8DRIR28 | 8 Megapixel TVI/AHD/CVI/Analog 960h, Fixed Lens, True Day/Night, D-WDR, 65’ Smart IR Range, UTC Function, IP66 Weather Resistant, 12VDC Operation | PAR-C8DRIR28 | HD Analog Camera: 8-MP | 89.9 | 109 | 124 | IPM-JB7: Junction Box #7 IPM-TXWM1A: Wall Mount #1 | NDAA Compliant
#VALUE! | PAR-C8DRIRA2812 | 8 Megapixel TVI/AHD/CVI/CVBS Rugged Outdoor Dome 2.8-12mm Motorized A/F Lens, 98’ IR Range, 12VDC | PAR-C8DRIRA2812 | HD Analog Camera: 8-MP | 150.8 | 182 | 208 | IPM-JB8: Junction Box #8 IPM-WALLMOUNT2: Wall Mount (Use with IPM-JB8) IPM-PTZPOLE1: Pole Mount (Use with IPM-JB8) IPM-PTZCORNER: Corner Mount (Use with IPM-JB8) | NDAA Compliant
#VALUE! | PAR-C8TIR28 | 8 Megapixel, TVI/AHD/CVI/CVBS, Outdoor Turret, 65’ IR Range, 12VDC | PAR-C8TIR28 | HD Analog Camera: 8-MP | 84.1 | 102 | 116 | IPM-JB6: Junction Box #6 IPM-TXWM1A: Wall Mount#1 | NDAA Compliant
#VALUE! | PAR-C8TIR28B | 8 Megapixel, TVI/AHD/CVI/CVBS, Outdoor Turret, 65’ IR Range, 12VDC (BLACK) | PAR-C8TIR28B | HD Analog Camera: 8-MP | 84.1 | 102 | 116 | IPM-JB6B: Junction Box #6, Black IPM-TXWM1A: Wall Mount#1 | NDAA Compliant
#VALUE! | PAR-C8TXIRA2812 | 8 Megapixel, TVI/AHD/CVI/CVBS Outdoor Turret, 2.8-12mm Motorized A/F, 164’ IR Range, 12VDC | PAR-C8TXIRA2812 | HD Analog Camera: 8-MP | 136.3 | 165 | 188 | IPM-JB4A: Junction Box IPM-DRWM6: Wall Mount IPM-WALLMOUNT2: Wall Mount (MUST Use with IPM-JB4A) IPM-TXWM1A: Wall Mount #1 IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A & IPM-WALLMOUNT2) | NDAA Compliant
#VALUE! | VIS-C8TXIR28 | 8 Megapixel TVI/AHD/CVI/Analog 960h, Outdoor Turret, Up to 131’ IR Range, True WDR, 12VDC | VIS-C8TXIR28 | HD Analog Camera: 8-MP | 79.75 | 96 | 110 | IVM-JB2: Junction Box IVM-DRWM6: Wall Mount IVM-POLE1: Pole Mount (Must Use with IVM-JB2) IVM-PM2: Pendant Mount (Must Use with IVM-JB2) IVM-CORNER2: Corner Mount (Must Use with Junction Box or Wall Mount) | NDAA Compliant
#VALUE! | VIS-D2B-8 | 8 Ch + 4 Bonus IP Ch (Up to 12 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 1 HD Bay | VIS-D2B-8 | HD Analog Recorder/DVR | 130.5 | 158 | 180 |  | NDAA Compliant
#VALUE! | VIS-D2B-16 | 16 Ch + 8 Bonus IP Ch (Up to 24 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 2 HD Bays | VIS-D2B-16 | HD Analog Recorder/DVR | 246.5 | 298 | 340 |  | NDAA Compliant
#VALUE! | VIS-D2B-8/2TB | 8 Ch + 4 Bonus IP Ch (Up to 12 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 1 HD Bay, 2TB | VIS-D2B-8/2TB | HD Analog Recorder/DVR | 311.75 | 376 | 430 |  | NDAA Compliant
#VALUE! | VIS-D2B-8/4TB | 8 Ch + 4 Bonus IP Ch (Up to 12 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 1 HD Bay, 4TB | VIS-D2B-8/4TB | HD Analog Recorder/DVR | 319 | 385 | 440 |  | NDAA Compliant
#VALUE! | VIS-D2B-8/6TB | 8 Ch + 4 Bonus IP Ch (Up to 12 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 1 HD Bay, 6TB | VIS-D2B-8/6TB | HD Analog Recorder/DVR | 420.5 | 508 | 580 |  | NDAA Compliant
#VALUE! | VIS-D2B-16/2TB | 16 Ch + 8 Bonus IP Ch (Up to 24 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 2 HD Bays, 2TB | VIS-D2B-16/2TB | HD Analog Recorder/DVR | 427.75 | 516 | 590 |  | NDAA Compliant
#VALUE! | VIS-D2B-16/4TB | 16 Ch + 8 Bonus IP Ch (Up to 24 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 2 HD Bays, 4TB | VIS-D2B-16/4TB | HD Analog Recorder/DVR | 435 | 525 | 600 |  | NDAA Compliant
#VALUE! | VIS-D2B-8/8TB | 8 Ch + 4 Bonus IP Ch (Up to 12 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 1 HD Bay, 8TB | VIS-D2B-8/8TB | HD Analog Recorder/DVR | 514.75 | 621 | 710 |  | NDAA Compliant
#VALUE! | VIS-D2B-16/6TB | 16 Ch + 8 Bonus IP Ch (Up to 24 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 2 HD Bays, 6TB | VIS-D2B-16/6TB | HD Analog Recorder/DVR | 536.5 | 648 | 740 |  | NDAA Compliant
#VALUE! | VIS-D2B-8/10TB | 8 Ch + 4 Bonus IP Ch (Up to 12 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 1 HD Bay, 10TB | VIS-D2B-8/10TB | HD Analog Recorder/DVR | 609 | 735 | 840 |  | NDAA Compliant
#VALUE! | VIS-D2B-16/8TB | 16 Ch + 8 Bonus IP Ch (Up to 24 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 2 HD Bays, 8TB | VIS-D2B-16/8TB | HD Analog Recorder/DVR | 630.75 | 761 | 870 |  | NDAA Compliant
#VALUE! | VIS-D2B-8/12TB | 8 Ch + 4 Bonus IP Ch (Up to 12 Cameras Total) Universal Port Lite Recorder with Smart Analytic Support and Audio over Coax (AoC), 1 HD Bay, 12TB | VIS-D2B-8/12TB | HD Analog Recorder/DVR | 674.25 | 814 | 930 |  | NDAA Compliant
#VALUE! | PAR-C2PTZBXIRA550 | 2 Megapixel TVI Outdoor PTZ Bullet, 5-50mm Motorized Pan Tilt Zoom, Up to 328’ IR Range, 12VDC | PAR-C2PTZBXIRA550 | HD Analog Camera: 2-MP PTZ | 433.55 | 523 | 598 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-ALL5CRB36 | 5 Megapixel AHD/ TVI/ CVI Miniature Cylinder Camera | ULT-ALL5CRB36 | HD Analog Camera: 5-MP | 158.05 | 191 | 218 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-ALL5MIP28 | All-in-One 5 Megapixel AHD/ TVI/ CVI Miniature Camera | ULT-ALL5MIP28 | HD Analog Camera: 5-MP | 129.05 | 156 | 178 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-ALLCRB36 | 2 Megapixel TVI/AHD/CVI/Analog, Outdoor Miniature Cylinder, 3.6mm, 12VDC, Black Housing | ULT-ALLCRB36 | HD Analog Camera: 2-MP | 123.25 | 149 | 170 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-ALLMIB21 | 2 Megapixel TVI/AHD/CVI/Analog, Indoor Mini Metal Case, 2.1mm Board Lens, 12VDC, Black Housing | ULT-ALLMIB21 | HD Analog Camera: 2-MP | 120.35 | 145 | 166 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-ALLMIB28 | 2 Megapixel TVI/AHD/CVI/Analog, Indoor Mini Metal Case, 2.8mm Board Lens, 12VDC, Black Housing | ULT-ALLMIB28 | HD Analog Camera: 2-MP | 120.35 | 145 | 166 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-ALLMIB36 | 2 Megapixel TVI/AHD/CVI/Analog, Indoor Miniature Metal Case, 3.6mm Board Lens, 12VDC, Black Housing | ULT-ALLMIB36 | HD Analog Camera: 2-MP | 120.35 | 145 | 166 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-ALLMIFP43 | 2 Megapixel TVI/AHD/CVI/Analog, Indoor Miniature Metal Case, 4.3mm Flat Lens, 12VDC, Black Housing | ULT-ALLMIFP43 | HD Analog Camera: 2-MP | 120.35 | 145 | 166 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-ALLMIP28 | 2 Megapixel TVI/AHD/CVI/Analog, Indoor Mini Metal Case, 2.8mm Conical Pinhole Lens, 12VDC, Black Housing | ULT-ALLMIP28 | HD Analog Camera: 2-MP | 120.35 | 145 | 166 | N/A | TAA & NDAA Compliant
#VALUE! | ULT-ALLMIP37 | 2 Megapixel TVI/AHD/CVI/Analog, Indoor Miniature Metal Case, 3.7mm Conical Lens, 12VDC, Black Housing | ULT-ALLMIP37 | HD Analog Camera: 2-MP | 120.35 | 145 | 166 | N/A | TAA & NDAA Compliant

## Brackets-Mounts
InVid Mounts
Picture | Spec Sheet | Short Desc | InVid Part # | Product Type | Dealer Price | MAP | MSRP
| N/A | 2.8-12mm Varifocal Megapixel Lens | ICL-2812DCMP | Lens | 75.4 | 91 | 104
#VALUE! | N/A | Ceiling Mount for PAR-ALLDRXIRBD | IPM-CMFIXDOME | Mount | 30.45 | 37 | 42
#VALUE! | N/A | Ceiling Mount for PAR-ALLDRXIRA27135BD | IPM-CMVARDOME | Mount | 30.45 | 37 | 42
#VALUE! | IPM-DRWM5 | Wall Mount | IPM-DRWM5 | Mount | 36.25 | 44 | 50
#VALUE! | IPM-DRWM6 | Wall Mount | IPM-DRWM6 | Mount | 36.25 | 44 | 50
#VALUE! | IPM-GANGPLATE | Gangplate for Paramont Cameras | IPM-GANGPLATE | Plate | 14.5 | 18 | 20
#VALUE! | N/A | In-Ceiling Mount for PAR-ALLDRXIRBD | IPM-ICMFIXDOME | Mount | 37.7 | 46 | 52
#VALUE! | N/A | In-Ceiling Mount for PAR-ALLDRXIRA27135BD | IPM-ICMVARDOME | Mount | 37.7 | 46 | 52
#VALUE! | IPM-JB4A | Junction Box for Paramont Series Cameras, White | IPM-JB4A | Junction Box | 23.2 | 28 | 32
#VALUE! | N/A | Junction box for Paramont Series: PAR-C2DRIR2812, PAR-P3DRIR3312, PAR-P4DRIRA3312, PAR-P8DRIRA3312, PAR-VARIDOME, PAR-C2TXIR2812, PAR-P4TXIRA3312, PAR-VARITURRETA | IPM-JB5 | Junction Box | 21.75 | 26 | 30
#VALUE! | IPM-JB6 | Junction Box for Paramont Series Cameras: PAR-P3BIR, PAR-P4BIR, PAR-P8BIR, PAR-FIXEDBULLET, PAR-VARIBULLET1 | IPM-JB6 | Junction Box | 15.95 | 19 | 22
#VALUE! | IPM-JB6B | Junction Box for Paramont Series Cameras, Black | IPM-JB6B | Junction Box | 15.95 | 19 | 22
#VALUE! | IPM-JB7 | Paramont Junction Box #7 | IPM-JB7 | Junction Box | 15.95 | 19 | 22
#VALUE! | IPM-JB8 | PARAMONT JUNCTION BOX FOR PAR-P5DRIRA3312N | IPM-JB8 | Junction Box | 23.2 | 28 | 32
#VALUE! | IPM-JB9 | Junction Box for PAR-P4DUALDRIR28NH-AI | IPM-JB9 | Junction Box | 36.25 | 44 | 50
#VALUE! | N/A | Paramont Large Junction Box | IPM-JBLARGE | Junction Box | 30.45 | 37 | 42
#VALUE! | N/A | Back Box for Analog LPR Cameras | IPM-LPRJB | Junction Box | 36.25 | 44 | 50
#VALUE! | IPM-PANWALL | PARAMONT WALL MOUNT | IPM-PANWALL | Mount | 37.7 | 46 | 52
#VALUE! | IPM-PANWALLB | PARAMONT WALL MOUNT | IPM-PANWALLB | Mount | 37.7 | 46 | 52
#VALUE! | IPM-PM3 | Pendant Mount | IPM-PM3 | Mount | 29 | 35 | 40
#VALUE! | N/A | Pole Mount for PAR-ALLDRXIRBD & PAR-ALLDRXIRA27135BD | IPM-POLEVARFIXDOME | Mount | 37.7 | 46 | 52
#VALUE! | N/A | PTZ Ceiling Mount for Paramont Series: PAR-P3PTZXIR20 | IPM-PTZCEILING | Mount | 53.65 | 65 | 74
#VALUE! | IPM-PTZCORNER | Corner Mount for Paramont PTZ Cameras | IPM-PTZCORNER | Mount | 39.15 | 47 | 54
#VALUE! | N/A | PTZ Pendant Mount | IPM-PTZPEN10 | Mount | 39.15 | 47 | 54
#VALUE! | N/A | Pole Mount | IPM-PTZPOLE1 | Mount | 39.15 | 47 | 54
#VALUE! | IPM-PTZWALL1 | Wall Mount for Paramont PTZ Cameras | IPM-PTZWALL1 | Mount | 36.25 | 44 | 50
#VALUE! | IPM-PTZWALLJB | Wall mount bracket for PTZ camera with Junction box included | IPM-PTZWALLJB | Mount | 87 | 105 | 120
#VALUE! | N/A | Corner mount bracket for PTZ camera with Junction box included | IPM-PTZWALLJBCO | Mount | 130.5 | 158 | 180
#VALUE! | IPM-PTZWALLJBPOLE | Pole mount bracket for PTZ camera with Junction box included | IPM-PTZWALLJBPOLE | Mount | 130.5 | 158 | 180
#VALUE! | IPM-TXWM1A | Wall Mount for Paramont Series Cameras, White | IPM-TXWM1A | Mount | 23.2 | 28 | 32
#VALUE! | IPM-TXWM1B | Wall Mount for Paramont Series Cameras, Black | IPM-TXWM1B | Mount | 21.75 | 26 | 30
#VALUE! | N/A | Wall Mount for Paramont Series: PAR-P4PTZXIR2812NH-AIWL | IPM-TXWM2 | Mount | 21.75 | 26 | 30
#VALUE! | N/A | Wall Mount for PAR-ALLDRXIRBD | IPM-WALLFIXDOME | Mount | 37.7 | 46 | 52
#VALUE! | IPM-WALLMOUNT2 | PARAMOUNT WALL MOUNT FOR IPM-JB8 AND VARI DOME NEW DESIGN | IPM-WALLMOUNT2 | Mount | 46.4 | 56 | 64
#VALUE! | N/A | Wall Mount for PAR-ALLDRXIRA27135BD | IPM-WALLVARDOME | Mount | 46.4 | 56 | 64
#VALUE! | IVM-CORNER1 | Corner Mount for VIS-P2PTZXIR30 VIS-P2PTZLASERT33 & VIS-P2PTZXIRT44, White | IVM-CORNER1 | Mount | 30.45 | 37 | 42
#VALUE! | IVM-CORNER2 | Corner Mount for Vision Series | IVM-CORNER2 | Mount | 36.25 | 44 | 50
#VALUE! | IVM-DOMEPLATE | Plate for Dome to Attach to IVM-PM1, White | IVM-DOMEPLATE | Plate | 15.95 | 19 | 22
#VALUE! | IVM-DRWM1 | Outdoor Wall Mount for VIS-DRXIRA2812, White | IVM-DRWM1 | Mount | 50.75 | 61 | 70
#VALUE! | IVM-DRWM5 | Wall Mount for Vision Series Dome | IVM-DRWM5 | Mount | 50.75 | 61 | 70
#VALUE! | IVM-DRWM6 | Wall Mount + Back Box for Fixed Dome | IVM-DRWM6 | Mount | 50.75 | 61 | 70
#VALUE! | IVM-DRWM7 | Wall Mount | IVM-DRWM7 | Mount | 50.75 | 61 | 70
#VALUE! | IVM-ICM1 | In-Ceiling Mount for VIS-DRXIRA2812, White | IVM-ICM1 | Mount | 30.45 | 37 | 42
#VALUE! | IVM-JB10 | Junction Box #10 | IVM-JB10 | Junction Box | 29 | 35 | 40
#VALUE! | N/A | BACKBOX FOR VF DOMES | IVM-JB1A | Junction Box | 23.2 | 28 | 32
#VALUE! | IVM-JB2 | Junction Box for VIS-DRIR28 & VIS-LIR28, White | IVM-JB2 | Junction Box | 18.85 | 23 | 26
#VALUE! | IVM-JB3 | Junction Box for VIS-TXIR28 & VIS-TXIRA2812, White | IVM-JB3 | Junction Box | 18.85 | 23 | 26
#VALUE! | IVM-JB3B | Junction Box, Black | IVM-JB3B | Junction Box | 21.75 | 26 | 30
#VALUE! | IVM-JB5 | Junction Box for VIS-P4BXIR36 & VIS-P4BXIR36-16G, White | IVM-JB5 | Junction Box | 23.2 | 28 | 32
#VALUE! | IVM-JB6 | Junction Box for VIS-P2PTZXIR30, VIS-P2PTZLASERT33 & VIS-P2PTZXIRT44, White | IVM-JB6 | Junction Box | 107.3 | 130 | 148
#VALUE! | IVM-JB7 | JUNCTION BOX FOR VIS-P4 OR P-5 TXIR28LC LC ONLY | IVM-JB7 | Junction Box | 23.2 | 28 | 32
#VALUE! | IVM-JB8 | Junction Box for VIS-P4BXIRA2812LC | IVM-JB8 | Junction Box | 39.15 | 47 | 54
#VALUE! | IVM-JB9 | Back Box for VIS-P8BXIR4 | IVM-JB9 | Junction Box | 30.45 | 37 | 42
#VALUE! | IVM-PARAPET | Parapet Mount for VIS-P2PTZXIR30, VIS-P2PTZLASERT33 & VIS-P2PTZXIRT44, White | IVM-PARAPET | Mount | 143.55 | 173 | 198
#VALUE! | IVM-PM1 | Indoor Pendant Mount for VIS-DRXIRA2812 (Use with IVM-DOMEPLATE), White | IVM-PM1 | Mount | 36.25 | 44 | 50
#VALUE! | IVM-PM2 | Pendant Mount for Fixed Dome/Turret, must use with back box | IVM-PM2 | Mount | 23.2 | 28 | 32
#VALUE! | IVM-PM2B | Pendant Mount, Black | IVM-PM2B | Mount | 21.75 | 26 | 30
#VALUE! | IVM-POLE1 | Outdoor Pole Mount for VIS-DRXIRA2812 & Most Bullets (Use with Mounts), White | IVM-POLE1 | Mount | 39.15 | 47 | 54
#VALUE! | IVM-PTZPLATE2 | Adapter plate for VIS-P20MULTI27135NH-AI | IVM-PTZPLATE2 | Plate | 50.75 | 61 | 70
#VALUE! | IVM-PTZPOLE | Pole Mount for VIS-P2PTZXIR30, VIS-P2PTZLASERT33 & VIS-P2PTZXIRT44, White | IVM-PTZPOLE | Mount | 39.15 | 47 | 54
#VALUE! | IVM-PTZWALL1 | Short Wall Mount for VIS-P2PTZXIR30 & VIS-P2PTZLASERT33, White | IVM-PTZWALL1 | Mount | 39.15 | 47 | 54
#VALUE! | IVM-PTZWALL2 | Long Wall Mount for VIS-P2PTZXIR30, VIS-P2PTZLASERT33 & VIS-P2PTZXIRT44, White | IVM-PTZWALL2 | Mount | 53.65 | 65 | 74
#VALUE! | N/A | JUNCTION BOX FOR SEC-P8DRXIR28NH | SEC-JB2 | Junction Box | 15.95 | 19 | 22
#VALUE! | SEC-JB3 | Junction Box | SEC-JB3 | Junction Box | 36.25 | 44 | 50
#VALUE! | IVM-JBPAN | Junction box for VIS-P12PAN, White | IVM-JBPAN | Junction Box | 23.2 | 28 | 32

## ACCESSORIES
InVid Accessories (TAA/NDAA)
Picture | Spec Sheet | Short Desc | InVid Part # | Product Type | Dealer Price | MAP | MSRP | Compliance
#VALUE! | PAR-P2DOORCHI | Doorbell Chime | PAR-P2DOORCHI | Accessory | 36.25 | 44 | 50 | NDAA Compliant
#VALUE! | VIS-DOORCHIME | Doorbell Chime | VIS-DOORCHIME | Accessory | 36.25 | 44 | 50 | NDAA Compliant
#VALUE! | VIS-HDMI4A | 4 Channel H.265 Decoding Card | VIS-HDMI4A | Accessory | 578.55 | 698 | 798 | NDAA Compliant
#VALUE! | PS1A-MINISERVER2 | Mini Standalone CMS Server. Up to 5 Client PC Support, 36ch Live View up to 256 total channels | PS1A-MINISERVER2 | Accessory | 685.85 | 828 | 946 | NDAA Compliant
#VALUE! | PS1A-DECODERNH | 4CH Decoder for PS1A-ENTERPRISE, 4 HDMI Outputs with Two Modes to Use | PS1A-DECODERNH | Accessory | 912.05 | 1101 | 1258 | NDAA Compliant
#VALUE! | VIS-HDMI7A | 7 Channel H.265 Decoding Card | VIS-HDMI7A | Accessory | 1015 | 1225 | 1400 | NDAA Compliant
#VALUE! | PAR-ENCODER2 | Single Channel Encoder with Video loop Out, SD Card Slot, 12VDC/Poe | PAR-ENCODER2 | Accessory | 143.55 | 173 | 198 | NDAA Compliant
#VALUE! | VIS-LRPOE4-2N | 4-Port PoE Switch, 60W, With 2 Uplink Ports, 100 MBPS Ports, UL Listed | VIS-LRPOE4-2N | PoE Switches | 65.25 | 79 | 90 | NDAA Compliant
#VALUE! | VIS-POE4-1FG | 4 Port PoE Switch with 1 Up-link Ports. Full Gigabit | VIS-POE4-1FG | PoE Switches | 84.1 | 102 | 116 | NDAA Compliant
#VALUE! | VIS-LRPOE8-2AN | 8-Port PoE Switch, 88W, With 2 Uplink Ports, 100 MBPS Ports, UL Listed | VIS-LRPOE8-2AN | PoE Switches | 123.25 | 149 | 170 | NDAA Compliant
#VALUE! | SECA-GIGPOE4-1 | 4 port gigabit unmanaged switch, industrial grade | SECA-GIGPOE4-1 | PoE Switches | 152.25 | 184 | 210 | TAA & NDAA Compliant
#VALUE! | VIS-GIGPOE8-2 | 8+ 2 xRJ45 Full Gigabit, 125W, With 2 Uplink Ports | VIS-GIGPOE8-2 | PoE Switches | 181.25 | 219 | 250 | NDAA Compliant
#VALUE! | VIS-GIGPOE8-2A | 8+ 2 xRJ45 Full Gigabit, Max PoE 120w, With 2 Uplink Ports | VIS-GIGPOE8-2A | PoE Switches | 181.25 | 219 | 250 | NDAA Compliant
#VALUE! | VIS-POE-OD8-2 | 8 Port Full Gig Waterproof Box Ethernet Switch | VIS-POE-OD8-2 | PoE Switches | 224.75 | 271 | 310 | NDAA Compliant
#VALUE! | VIS-LRPOE16-2AN | 16-Port PoE Switch, 1X SFP, 225W, UL Listed, With 2 Uplink Gig Ports, 100 MBPS Ports | VIS-LRPOE16-2AN | PoE Switches | 303.05 | 366 | 418 | NDAA Compliant
#VALUE! | SECA-GIGPOE8-2MAN | 8 port gigabit managed switch, industrial grade | SECA-GIGPOE8-2MAN | PoE Switches | 362.5 | 438 | 500 | TAA & NDAA Compliant
#VALUE! | VIS-LRPOE24-2AN | 24-Port PoE Switch, 1X SFP, 370W, UL Listed, With 2 Uplink Gig Ports, 100 MBPS Ports | VIS-LRPOE24-2AN | PoE Switches | 388.6 | 469 | 536 | NDAA Compliant
#VALUE! | VIS-GIGPOE16-2 | 16+ 2 xRJ45 Full Gigabit, 13” Rack mountable case, 250W UL Listed, With 2 Uplink Port | VIS-GIGPOE16-2 | PoE Switches | 394.4 | 476 | 544 | NDAA Compliant
#VALUE! | VIS-GIGPOE16-2+ | 16+2x RJ45+ 2X SFP Full Gigabit, 19” Rack Mountable Case, 300W UL Listed, With 2 Uplink Port | VIS-GIGPOE16-2+ | PoE Switches | 455.3 | 550 | 628 | NDAA Compliant
#VALUE! | VIS-GIGPOE24-2+ | 24+2x RJ45+ 2X SFP Full Gigabit, 19” Rack Mountable Case, 400W UL Listed, With 2 Uplink Port | VIS-GIGPOE24-2+ | PoE Switches | 607.55 | 733 | 838 | NDAA Compliant
#VALUE! | IHDD-1TB | 1 TB Hard Drive, High Performance, WD Purple | IHDD-1TB | Hard Drive | 181.25 | 219 | 250 | NDAA Compliant
#VALUE! | IHDD-2TB | 2 TB Hard Drive, High Performance, WD Purple | IHDD-2TB | Hard Drive | 195.75 | 236 | 270 | NDAA Compliant
#VALUE! | IHDD-3TB | 3 TB Hard Drive, High Performance, WD Purple | IHDD-3TB | Hard Drive | 203 | 245 | 280 | NDAA Compliant
#VALUE! | IHDD-4TB | 4 TB Hard Drive, High Performance, WD Purple | IHDD-4TB | Hard Drive | 203 | 245 | 280 | NDAA Compliant
#VALUE! | IHDD-6TB | 6 TB Hard Drive, High Performance, WD Purple | IHDD-6TB | Hard Drive | 304.5 | 368 | 420 | NDAA Compliant
#VALUE! | IHDD-8TB | 8 TB Hard Drive, High Performance, WD Purple | IHDD-8TB | Hard Drive | 398.75 | 481 | 550 | NDAA Compliant
#VALUE! | IHDD-10TBPRO | 10 TB Hard Drive, High Performance, WD Purple Pro | IHDD-10TBPRO | Hard Drive | 478.5 | 578 | 660 | NDAA Compliant
#VALUE! | IHDD-12TB | 12 TB Hard Drive, High Performance, WD Purple | IHDD-12TB | Hard Drive | 543.75 | 656 | 750 | NDAA Compliant
#VALUE! | IHDD-14TB | 14 TB Hard Drive, High Performance, WD Purple | IHDD-14TB | Hard Drive | 652.5 | 788 | 900 | NDAA Compliant
#VALUE! | IHDD-18TBPRO | 18 TB Hard Drive, High Performance, WD Purple Pro | IHDD-18TBPRO | Hard Drive | 725 | 875 | 1000 | NDAA Compliant
#VALUE! | IHDD-26TB | 26 TB Hard Drive, High Performance, WD Purple | IHDD-26TB | Hard Drive | 1087.5 | 1313 | 1500 | NDAA Compliant

## SPECIALTY
InVid Specialty Cameras (TAA/NDAA)
Picture | Spec Sheet | Short Desc | InVid Part # | Product Type | Dealer Price | MAP | MSRP | Mount/Bracket/Box | Compliance
#VALUE! | SECA-BODYCAM | Body camera, complete IoT-connected multi-sensor device. Extensive remote networking capabilities allow you to interact with the camera through 4G LTE and/or Wi-Fi networks | SECA-BODYCAM | Body Camera | 868.55 | 1048 | 1198 | N/A | TAA & NDAA Compliant
#VALUE! | PAR-P4DUALDRIR28NH-AI | (2) 4 Megapixel Dual Channel, Non-Splicing IP Plug & Play, Outdoor Dome, Up to 98’ IR Range, WDR, 2-Built-in Mics with Audio Input/Output, SD Card Slot, 12VDC/PoE | PAR-P4DUALDRIR28NH-AI | Dual IP Camera: 4-MP | 326.25 | 394 | 450 | IPM-JB9: Junction Box | NDAA Compliant
#VALUE! | PAR-P4PTZXIR25NH-AI2 | 4 Megapixel IP Plug & Play, Outdoor PTZ, 25x Optical Zoom, up to 393’ IR Range, True WDR,SD Card Slot, 24VDC/24VAC/PoE++ | PAR-P4PTZXIR25NH-AI2 | IP Camera: 4-MP PTZ | 797.5 | 963 | 1100 | *Wall Mount Included* IPM-PTZPOLE1: Pole Mount* IPM-PTZCORNER: Corner Mount for Paramont PTZ Cameras* IPM-PTZPEN10: PTZ Pendant Mount* IPM-PTZWALLJB: Wall Mount with Junction Box/ Wall Mount IPM-PTZWALLJBCO: Corner mount with Junction Box/ Wall Mount IPM-PTZWALLJBPOLE: Pole Mount Bracket with Junction Box/ Wall Mount | NDAA Compliant
#VALUE! | PAR-P4PTZXIR40NH-AI | 4 Megapixel IP Plug & Play, Outdoor PTZ, 40x Optical Zoom, up to 1148’ IR Range, D-WDR, SD Card Slot, DC24V/PoE+ | PAR-P4PTZXIR40NH-AI | IP Camera: 4-MP PTZ | 1015 | 1225 | 1400 | *Wall Mount Included* IPM-PTZPOLE1: Pole Mount* IPM-PTZCORNER: Corner Mount for Paramont PTZ Cameras* IPM-PTZPEN10: PTZ Pendant Mount IPM-PTZWALLJB: Wall Mount with Junction Box/ Wall Mount IPM-PTZWALLJBCO: Corner mount with Junction Box/ Wall Mount IPM-PTZWALLJBPOLE: Pole Mount Bracket with Junction Box/ Wall Mount | NDAA Compliant
#VALUE! | PAR-P8PTZXIR25NH-AI | 8 Megapixel IP Plug & Play, Outdoor PTZ, 25x Optical Zoom, up to 492’ IR Range, True WDR, SD Card Slot, 12VDC 3 Amp/PoE+ | PAR-P8PTZXIR25NH-AI | IP Camera: 8-MP PTZ | 1158.55 | 1398 | 1598 | *Wall Mount Included* IPM-PTZPOLE1: Pole Mount* IPM-PTZCORNER: Corner Mount for Paramont PTZ Cameras* IPM-PTZPEN10: PTZ Pendant Mount IPM-PTZWALLJB: Wall Mount with Junction Box/ Wall Mount IPM-PTZWALLJBCO: Corner mount with Junction Box/ Wall Mount IPM-PTZWALLJBPOLE: Pole Mount Bracket with Junction Box/ Wall Mount | NDAA Compliant
#VALUE! | PAR-P8PTZXIR32NH-AI | 8 Megapixel IP Plug & Play, Outdoor PTZ, 32x Optical Zoom, up to 656’ IR Range, True WDR, SD Card Slot, DC24V/PoE++ | PAR-P8PTZXIR32NH-AI | IP Camera: 8-MP PTZ | 1341.25 | 1619 | 1850 | *Wall Mount Included* IPM-PTZPOLE1: Pole Mount* IPM-PTZCORNER: Corner Mount for Paramont PTZ Cameras* IPM-PTZPEN10: PTZ Pendant Mount IPM-PTZWALLJB: Wall Mount with Junction Box/ Wall Mount IPM-PTZWALLJBCO: Corner mount with Junction Box/ Wall Mount IPM-PTZWALLJBPOLE: Pole Mount Bracket with Junction Box/ Wall Mount | NDAA Compliant
#VALUE! | VIS-P8PTZ40XIRNH-AI | 8 Megapixel IP Plug & Play, Outdoor PTZ, Motorized Auto-Focus 5.7-228mm Lens, up to 820’ IR Range, D-WDR, SD Card Slot, AC24V/24VDC/PoE++ | VIS-P8PTZ40XIRNH-AI | IP Camera: 8-MP PTZ | 3770 | 4550 | 5200 | IVM-PTZWALL2: Long Wall Mount IVM-CORNER1: Corner Mount #1 (Use with Wall Mounts) IVM-JB6: Junction Box #6 IVM-PTZPOLE: Pole Mount (Use with Wall Mounts) IVM-PM1: Indoor Pendant Mount #1 | NDAA Compliant
#VALUE! | INVID-ISSS-100W | Independent Solar Surveillance Solution, 100W, Call for design options - 888-550-5700 | INVID-ISSS-100W | Solar Solution | 2320 | 2800 | 3200
#VALUE! | INVID-ISSS-200W | Independent Solar Surveillance Solution, 200W , Call for design options - 888-550-5700 | INVID-ISSS-200W | Solar Solution | 3625 | 4375 | 5000
#VALUE! | VIS-P12PANNH | 12 Megapixel IP Plug & Play, Outdoor Panoramic, Fish-Eye Lens, Up to 49’ IR Range, CVBS Output, D-WDR, Built-in Mic + Speaker, Audio Input/Output, SD Card Slot, PoE/12VDC | VIS-P12PANNH | Panoramic Fisheye | 623.5 | 753 | 860 | IVM-PM2: Pendant Mount IVM-JBPAN: Junction Box IVM-DRWM1: Wall Mount IVM-CORNER2: Corner Mount (Must Use with Junction Box or Wall Mount) | NDAA Compliant
#VALUE! | VIS-P20MULTI27135NH-AI | 20 Megapixel IP Plug & Play, Outdoor Panoramic Camera, Manual Pan/Tilt Motorized Auto Focus Lens, True AI, Up to 164’ IR Range, True WDR, Audio Input/Output, (2) Built-in Mic, SD Card Slot, 24VAC/24VDC/PoE++ | VIS-P20MULTI27135NH-AI | Panoramic | 2175 | 2625 | 3000 | Ceiling Mount included IVM-JB6: Junction Box (Use with IVM-PTZWALL1 or IVM-PTZWALL2) IVM-PTZPOLE: Pole Mount IVM-CORNER1: Corner Mount IVM-PTZPLATE2: Base Plate when not surface mounting IVM-PM1: Indoor Pendant Mount #1 (Must Use with IVM-PTZPLATE2) IVM-PTZWALL1: Short Wall Mount (Must Use with IVM-PTZPLATE2) IVM-PTZWALL2: Long Wall Mount (Must Use with IVM-PTZPLATE2) IVM-PARAPET: Parapet Mount (Must Use with IVM-PTZPLATE2) IVM-PTZPLATE2: Adapter plate | NDAA Compliant
#VALUE! | VIS-P4MULTI160-WL | 4 Megapixel IP Plug & Play Outdoor Bullet, 160° Panoramic View with 2 Fixed Lenses, D-WDR, White Light, Built-in Mic/Speaker, PoE/DC12V | VIS-P4MULTI160-WL | Panoramic | 203 | 245 | 280 | IVM-JB8: Junction Box IVM-CORNER2: Corner Mount (Must Use with Junction Box or Wall Mount) | NDAA Compliant
#VALUE! | VIS-P8MULTI180-WL | 8 Megapixel IP Plug & Play Outdoor Bullet, 180° Panoramic View with 2 Fixed Lenses, WDR, White Light, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE | VIS-P8MULTI180-WL | Panoramic | 326.25 | 394 | 450 | IVM-JB8: Junction Box IVM-CORNER2: Corner Mount (Must Use with Junction Box or Wall Mount) | NDAA Compliant
#VALUE! | VIS-P8TXIR180NH-AIRBT | 8 Megapixel IP Plug & Play, Outdoor Turret, 180˚ Panoramic View with 2 Fixed Lenses, up to 98’ IR Range, True WDR, White Light up to 98’, Red/Blue Flash­ing Deterrent Light and/or Siren, Built-in Mic/Speaker, SD Card Slot, 12VDC/PoE | VIS-P8TXIR180NH-AIRBT | Panoramic | 311.75 | 376 | 430 | IVM-JB3: Junction Box IVM-DRWM5: Wall Mount IVM-POLE1: Pole Mount #1 (Must Use with IVM-JB3) IVM-CORNER2: Corner Mount (Must Use with Junction Box or Wall Mount) | NDAA Compliant
#VALUE! | PAR-C2LPR622D | 2 Megapixel License Plate Recognition Outdoor Bullet Camera, 6-22mm Motorized Auto-Focus, Up to 49’ IR Range, 12VDC/24VAC | PAR-C2LPR622D | License Plate Recognition | 288.55 | 348 | 398 | IPM-LPRJB: Junction Box | NDAA Compliant
#VALUE! | PAR-P2LPR550NH | 2 Megapixel IP Plug & Play License Plate Recognition Outdoor Bullet, 5-50mm Motorized A/F, Starlight Illumination, IR Range up to 328’, WDR, Audio Input, 12VDC/PoE | PAR-P2LPR550NH | License Plate Recognition | 723.55 | 873 | 998 | IPM-JB4A: Junction Box #4 IPM-DRWM6: Wall Mount IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A) | NDAA Compliant
#VALUE! | PAR-P4LPR832NH2 | 4 Megapixel IP Plug & Play License Plate Recognition Outdoor Bullet, 8-32mm Motorized A/F, Starlight Illumination, 328’ IR Range, WDR, Audio Input/Output, 12VDC/PoE/AC24V | PAR-P4LPR832NH2 | License Plate Recognition | 578.55 | 698 | 798 | IPM-JB4A: Junction Box #4 IPM-DRWM6: Wall Mount (Must use with IPM-JB4A) IPM-WALLMOUNT2: Wall Mount #2 (Must be used with IPM-JB4A) IPM-PTZPOLE1: Pole Mount (Use with IPM-JB4A) IPM-PTZCORNER: Corner Mount (Use with IPM-JB4A) | NDAA Compliant
#VALUE! | VIS-P4LPR832NH-WL | 4 Megapixel IP Plug & Play License Plate Recognition Outdoor Bullet, 8-32mm Motorized A/F, White Light up to 164’, WDR, Audio Input/Output, 12VDC/PoE+, Includes Junction Box | VIS-P4LPR832NH-WL | License Plate Recognition | 723.55 | 873 | 998 | IVM-POLE1: Pole Mount IVM-CORNER2: Corner Mount | NDAA Compliant

## InVid Cloud Storage Backup
InVid IP Cameras (TAA/NDAA)
Picture | Spec Sheet | Short Desc | InVid Part # | Product Type | Dealer Price | MSRP
#VALUE! | InVid Cloud Storage | 90 Day Storage for 1 Camera (Billed Annually) | CL1-90 | Cloud Storage | 130.5 | 180
#VALUE! | InVid Cloud Storage | 365 Day Storage for 1 Camera (Billed Annually) | CL1-365 | Cloud Storage | 188.5 | 260
#VALUE! | InVid Cloud Storage | 2 Years Storage for 1 Camera (Billed Annually) | CL1-730 (Special Pricing) | Cloud Storage | 288.55 | 398
#VALUE! | InVid Cloud Storage | 3 Years Storage for 1 Camera (Billed Annually) | CL1-1095 (Special Pricing) | Cloud Storage | 361.05 | 498
#VALUE! | InVid Cloud Storage | 4Years Storage for 1 Camera (Billed Annually) | CL1-1460 (Special Pricing) | Cloud Storage | 384.25 | 530
#VALUE! | InVid Cloud Storage | 5 Years Storage for 1 Camera (Billed Annually) | CL1-1825 (Special Pricing) | Cloud Storage | 406.725 | 561
|  | 1x 1site activation Fee (Non-Bridge Jobs ONLY)(one time fee) | InVid-CloudActivation (Non-Bridge Jobs ONLY) | Activation Fee | 435 | 600
#VALUE! | InVid-CloudBridge | 24 CH Cloud Bridge (one time fee) | InVid-CloudBridge-24A | Cloud Bridge | 1232.5 | 1700
#VALUE! | InVid-CloudBridge | 64CH Cloud Bridge (one time fee) | InVid-CloudBridge-64A | Cloud Bridge | 1486.25 | 2050
#VALUE! | InVid-CloudBridge | 128CH Cloud Bridge (one time fee) | InVid-CloudBridge-128A | Cloud Bridge | 2320 | 3200
#VALUE! | InVid Cloud Storage | 30 Day Storage *must own bridge* for 1 Camera (Billed Annually) | CL1Bridge-30 | Cloud Storage | 58 | 80
#VALUE! | InVid Cloud Storage | 90 Day Storage *must own bridge* for 1 Camera (Billed Annually) | CL1Bridge-90 | Cloud Storage | 72.5 | 100
#VALUE! | InVid Cloud Storage | 365 Day Storage *must own bridge* for 1 Camera (Billed Annually) | CL1Bridge-365 | Cloud Storage | 116 | 160
#VALUE! | InVid Cloud Storage | 2 Years Storage *must own bridge* for 1 Camera (Billed Annually) | CL1Bridge-730 | Cloud Storage | 203 | 280
#VALUE! | InVid Cloud Storage | 3 Years Storage *must own bridge* for 1 Camera (Billed Annually) | CL1Bridge-1095 | Cloud Storage | 288.55 | 398