- 3 Megapixel high-performance CMOS

- Analog HD output, up to 3MP resolution

- 2.8mm-12mm motorized vari-focal lens

- True Day/Night

- OSD menu, DNR, Smart IR

- True WDR, up to 120dB

- EXIR technology, up to 40m IR distance

- IP66 weatherproof

- Up the Coax(HIKVISION-C)

Key Features

HAC335-VD4Z

3MP Motorized VF EXIR Turret Camera

| Specifications |  |
| --- | --- |
| Camera |  |
| Image Sensor | 3MP CMOS Image Sensor |
| Effective Pixels | 2052(H)*1536(V) |
| Min. illumination | 0.01 Lux @ (F1.2,AGC ON),0 Lux with IR |
| Shutter Time | 1/25s to 1/50,000s |
| Lens | Motorized VF lens; 2.8 - 12 mm @ F1.2 |
| Lens Mount | φ14 |
| Day & Night | ICR |
| Angle Adjustment | Pan: 0° - 360°; Tilt:0° - 75°; Rotate: 0° - 360° |
| Synchronization | Internal Synchronization |
| WDR | 120dB |
| Video Frame Rate | 1920×1536@18fps |
| HD Video Output | 1 Analog HD output |
| S/N Ratio | ＞62dB |
| Menu |  |
| AGC | Support |
| D/N Mode | Color/BW/SMART |
| White Balance | ATW/ MWB |
| BLC | Support |
| Functions | Wide Dynamic Range, Digital noise reduction, Mirror, SMART IR |
| General |  |
| Operating Conditions | -40 °C – 60 °C (-40 °F – 140 °F), Humidity 90% or less (non-condensing) |
| Power Supply | 12 VDC±15% |
| Power Consumption | Max. 6W |
| Protection Level | IP66 |
| IR Range | Up to 40m |
| Communication | Up the coax, Protocol: HIKVISION-C (TVI output) |
| Dimensions | 134.3mm×123.9mm×111.4mm (5.29”×4.88”×4.39”) |
| Weight | Approx. 750g (1.57lb) |

20160118

DS-2CE56F7T-IT3Z

Dimensions

Accessories

DS-1273ZJ-130-TRL                      DS-1275ZJ                    DS-1276ZJ                      DS-1280ZJ-M

Wall Mounting                  Vertical Pole Mounting            Corner Mounting                    Junction Box

DS-1281ZJ-S                       DS-1H18                         X41T

Inclined Ceiling Mounting               Video Balun                    Camera Tester

Order Models